Assignment # 7

___________________________________________________________________________

Course 				:   Introduction to Architectural Engineering, ARE 100		(1-0-1)

Semester			:	2000-1

Instructor            :	Dr. Abdul-Mohsen Al-Hammad

Bldg. : 19,	Room : 428,	Tel. : 860-3581,	Office Hours :  as Posted

___________________________________________________________________________

Student Name :																		I.D. :

___________________________________________________________________________

___________________________________________________________________________

- What is meant by the term HVAC?

HVAC   =

___________________________________________________________________________

- What are the functions of HVAC systems in buildings?

1.

2.

3.

4.

5.

___________________________________________________________________________

3.  What are the Objectives of HVAC Systems? Briefly explain your understanding of each?

1.

2.

3.

4.

5.

___________________________________________________________________________

___________________________________________________________________________

4.  Define Thermal Comfort?  When can a Thermal Environment be accepted?

___________________________________________________________________________

5.  Mention the main 3 factors that influence thermal comfort? Give 3 examples for each?

1.

2.

3.

___________________________________________________________________________

6.  List 5  major criteria for the selection of HVAC systems?

1.

2.

3.

4.

5.

___________________________________________________________________________

7. Mention 4 Activities that the Architectural Engineer can do in relation to HVAC Design and Selection?

1.															2.

3.															4.

___________________________________________________________________________

___________________________________________________________________________

8. Why do you think the Architectural Engineer is more suitable, compared to the Mechanical Engineer, for HVAC systems Design and Selection in Buildings?

1.

2.

3.

___________________________________________________________________________

9.  (T) rue /(F)ales  (mark T or F)

[     ] 	The quality of the space thermal, visual and acoustical environment does not affect its value or rental income..

[     ] 	The environment where 76% of the occupants are thermally satisfied can be considered an acceptable thermal environment.

[     ] 	Mean Radiant Temperature takes into account the radiant heat exchange in the space.

[     ] 	Culture and the occupants' expectation affect thermal comfort.

[     ] 	Poor thermal conditions in a museum may affect the  exhibited art materials.

[     ]	Quality environment helps to increase workers productivity.

[     ]	 Cost is the only criterion that influences the selection of a particular HVAC system.

[     ] 	Codes and regulations have no effect on the  selection of a particular HVAC system.

[     ]	Operation and maintenance aspects of the HVAC affect the design and selection of HVAC systems.

[     ]	The design requirements and  selection criteria of an HVAC system for a textile factory are not different from the requirements for computer components manufacturing plant.

________________________________________________________________

Best Wishes