Major Exam # 1

___________________________________________________________________________

Course 				:   Introduction to Architectural Engineering, ARE 100		(1-0-1)

Semester			:	2000-1

Instructor            :	Dr. Abdul-Mohsen Al-Hammad

Bldg. : 19,	Room : 428,	Tel. : 860-3581,	Office Hours :  as Posted

___________________________________________________________________________

Student Name :																		I.D. :

___________________________________________________________________________

___________________________________________________________________________

1. 	Mention 2 different "simple" definitions for a "Building":

1.

2.

___________________________________________________________________________

2.1	What is meant by a building system?

___________________________________________________________________________

2.2 A typical building is composed of many integrated systems.

Mention 6 of these building systems?

1.															2.

3.															4.

5.															6.

___________________________________________________________________________

3.   What are the main specializations of Architectural Engineering at KFUPM?

1.															2.

.

3.															4.

___________________________________________________________________________

4.  	What can an Architectural Engineer do for job opportunities?

2.C Mention 5 parameters we need to control, in a building, to achieve human thermal comfort for the occupants:

1.															2.

4.

5.

- Mention 4 conditions to satisfy conditions for sensory comfort:

1.															2.

3.															4.

___________________________________________________________________________

4.  (T) rue /(F)ales  (mark T or F)

[     ] 	Providing a stable support for the weights of all people, furniture and equipment is the function of the partition system.

[     ] 	One of the functions of the building structure system is to provide sufficient resistance to the forces of snow, wind and earthquake.

[     ] 	One of the windows' functions is to provide optimum hearing and acoustic privacy.

[     ] 	The operation and maintenance aspects of a certain building type are not major function of the building.

[     ] 	Any building should be rigid and does not allow any adjustment for movement.

[     ] 	Acoustic privacy in a meeting room means that others within and outside the room can hear you.

[     ] 	Visual privacy means to prevent others from seeing you while doing your own activities when you need to do so.

[     ] 	Optimal seeing conditions in a classroom mean that you can comfortably see the instructor writings on the blackboard and be able to write notes as well as be able to read your textbook without difficulty.

[     ] 	Surfaces with different temperatures exchange heat by radiation.

[     ] 	Controlling thermal comfort in a building is not the job of the Architectural Engineer but it is the Architect's responsibility.

________________________________________________________________

Best Wishes