KING FAHD UNIVERSITY OF PETROLEUM & MINERALS

DEPARTMENT OF ARCHITECURE

# ARC 435 Design Determinants in Arid Regions

Instructor: Professor Habib Alshuwaikhat

# Windcatcher

# Source: Wikipedia http://en.wikipedia.org/wiki/Windcatcher]

windcatcher (Persian: بادگیر Bâdgir, Arabic: بارجيل Baarjiil) is a traditional Persian architectural device used for many centuries to create natural ventilation in buildings. It is not known who first invented the windcatcher, but it still can be seen in many countries today. Windcatchers come in various designs, such as the uni-directional, bi-directional, and multi-directional

## Background

Central Iran has a very large day-night temperature difference, ranging from cool to extremely hot, and the air tends to be very dry all day long. Most buildings are constructed of very thick ceramics with extremely high insulation values. Furthermore, towns centered on desert oases tend to be packed very closely together with high walls and ceilings relative to Western architecture, maximizing shade at ground level. The heat of direct sunlight is minimized with small windows that do not face the sun.

## Function

Illustration of use of windcatcher and qanat for cooling.

The windcatcher functions on several principles:

First, a windcatcher is capped and has several directional ports at the top (Traditionally four). By closing all but the one facing away from the incoming wind, air is drawn upwards using the Coanda effect, similar to how opening the one facing the wind would push air down the shaft. This generates significant cooling ventilation within the structure below, but is not enough to bring the temperature below ambient alone - it would simply draw hot air in through any cracks or windows in the structure below.

Therefore, the key to generating frigid temperatures seems to be that there are very few cracks at the base of the thick structure below, but there is a significant air gap above the qanat. A qanat has quite a lot of water inside, because there are frequent well-like reservoirs along its path. Completely shaded from the sun, a qanat also aggregates the cold, sinking air of the night, which is then trapped within, unable to rise up to the less dense surface air. A windcatcher, however, can create a pressure gradient which sucks at least a small amount of air upwards through a house. This cool, dry night air, being pulled over a long passage of water, evaporates some of it and is cooled down further.

Finally, in a windless environment or waterless house, a windcatcher functions as a stack effect aggregator of hot air. It creates a pressure gradient which allows less dense hot air to travel upwards and escape out the top. This is also compounded significantly by the day-night cycle mentioned above, trapping cool air below. The temperature in such an environment can't drop below the nightly low temperature. These last two functions have gained some ground in Western architecture, and there are several commercial products using the name windcatcher.

When coupled with thick adobe that exhibits high heat transmission resistance qualities, the windcatcher is able to chill lower level spaces in mosques and houses (e.g. shabestan) in the middle of the day to frigid temperatures.

So effective has been the windcatcher in Persian architecture that it has been routinely used as a refrigerating device (yakhchal) for ages. Many traditional water reservoirs (ab anbars) are built with windcatchers that are capable of storing water at near freezing temperatures for months in summer. High humidity environments destroy the evaporative cooling effect enjoyed in the dry conditions seen on the Iranian plateau; Hence the ubiquitous use of these devices in drier areas such as Yazd, Kashan, Nain, and Bam. This is especially visible in ab anbars that use windcatchers.

A small windcatcher (badgir) is called a "shish-khan" in traditional Persian architecture. Shish-khans can still be seen on top of ab anbars in Qazvin, and other northern cities in Iran. These seem to be more designed as a pure ventilating device, as opposed to temperature regulators, as their larger cousins in the central deserts of Iran are.

A Wind Tower (Persian:bad gir,Arabic: "barjeel" or badghir(from Persian)) is a structure seen on ancient buildings of the Middle East, particularly Iran, Dubai and Bahrain. This acted like a natural air conditioner creating a soothing effect in the harsh conditions of the desert.

The emergence of a traditional Bahraini and Persian Gulf style of architecture arose as people migrated to Bahrain with the growth of the pearl trade. With newfound wealth, the merchants built houses of note in the 18th and 19th centuries. The people of Ahvaz in Iran, for example, came and brought with them new architectural designs, including the distinctive wind tower which can be seen so prominently in the Awadiya area and elsewhere in Bahrain. This distinguishing feature was adapted locally with its own distinctive decorative motifs. The wind tower, an early and very effective form of air conditioning, has in fact been around for about 500 years and was developed from the early Wind Scoops first built about 2,000 years ago in Iran.

In Muharraq and also in parts of Manama there are many buildings, which are no more than two stories high and houses built with natural ventilation, using wind towers and badghirs, the devices for speeding up the flow of air and which consists of horizontal slats in the lower part of the walls. Badghir means ‘wind trap’ and is also the word used to describe the wind tower.