COE 200 Digital Design, Lab Report

Sadiq M. Sait

The following work was undertaken for improving COE 200 Lab.

The FPGA boards were fixed on hard-boards for their safety. This not only helped to improve physical safety of the FPGA boards but also reduced chances of damage of electronic devices on the FPGA-board due to electrostatic discharge.

A switch was provided on the board to control power supplied to the board. This helps in easily turning off power to the boards, thereby increasing their life as well as of power supplies. Moreover it also helps in reducing chances of cheating by erasing any left over projects in FPGA memory.

The use of FPGA software on new machines was a significant problem. It turned out that new Xilinx FPGA software doesn’t completely support the FPGA board that we had. The old software that was being used on Pentium-II class machines with Windows-98 could not be installed on Pentium-IV machines. Similarly, the stable version of Windows, Windows-XP, was not supported by our original FPGA software. The students could not use the software at their home Windows XP, Pentium IV machines. Similarly, the software could not be installed in 24 hours open Computer labs that are using the latest version of Windows on Pentium-IV machines. This created serious consequences for lab improvement efforts. The students were unable to complete their pre-labs and thus the lab had to be opened in evenings. This required dedicating someone to look after the precious equipment in the lab.

The problem was carefully addressed and need was felt to utilize the investment done on the boards and lab manual. This required finding alternate flows. The new line of Xilinx softwares was explored but was found out to be incompatible with our requirements. It necessitated further research on using the old software. The Xilinx online support described changes in installation procedure for overcoming installation problem. The modifications enabled installing the software on Windows XP but the software was unable to perform the final step of downloading the design on the FPGA. This was due to new parallel-port protocols found in Windows XP. We then tried using newer version of Xilinx software for design downloading. However, using both the versions of Xilinx softwares simultaneously resulted in Windows registry conflicts. A unique method of run-time registry reconfiguration was then used in order to use the newer version along with the older one. Thus, we were finally able to use our existing resources on latest machines without any additional cost. The efficiency of the lab was increased manifolds.

Another problem associated with the old COE 200 lab was the lack of space. The lab was re-setuped in a spacious room using Pentium IV machines running Windows XP.

The use of softwares in teaching increases the chances of cheating. The students could reuse designs of other students saved on the same machine. This problem was addressed by storing image of hard disks on network. These images can now be restored before a lab, erasing all the contents previously stored on the machine. This also helps maintaining the installation problem-free, a problem that frequently hampered smooth flow of lab in the previous semester.

The use of new flow and other improvements discussed so far required modifications in lab guide. The new flow and necessary improvements have been incorporated in lab guide.

The previous semester highlighted a number of improvements required in lab manual. These improvements are now being incorporated. Furthermore, feedback from current lab instructors as well as students is also being collected. This is done by attending the lab and getting on the spot feedback.