##### UNIVERSITY DIPLOMA PROGRAM

##### ELECTRONIC EQUIPMENT MAINTENANCE

EET - 027

# ELECTRONICS

# INSTRUMENTATION

TABLE OF CONTENTS

Experiment # 1:   Study and Identification of Various Sensors

Experiment # 2:   Verify Ohm’s Law and Balanced Bridge Circuit

Experiment # 3:   Wheatstone Bridge Circuit and Measurement of  Resistance using

Wheatstone Bridge equipment

# Experiment # 4:   Material Behavior

Experiment # 5:   Thermocouple Voltage Measurement

# Experiment # 6:  Strain Gauge Application and Measurement of Unknown Load

Experiment # 7:   Strain Gauge Measurement using Strain Indicator

Experiment # 8:   Strain Gauge Measurement by Applying Displacement using Strain Indicator

# Experiment # 9:   Linear Variable Differential Transformer Measurements

Experiment # 10:  X-Y Recorder

Experiment # 11:  Event Counting using Slotted Opto Switch

Experiment # 12:  PC-Based Data Logging

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 1

# Study and Identification of Various Sensors

Objective:

In this experiment, students are taught about different types of sensors. Different sensors will be shown to the students and they will identify the sensors.

Introduction:

Sensors are components of data acquisition systems that convert changes in a physical parameter into electrical signals. Some sensors are strictly electrical like thermocouples, and have no moving parts. Other sensors are electromechanical and translate motion into an electrical signal. Selecting the most suitable transducer is the initial step in designing effective instrumentation system.

Strain Gauge:

A strain gage is a sensing or detecting element that converts mechanical force, weight or pressure into an electrical signal which provides readout of the quantity being measured.

The strain gage is a transducer employing electrical resistance variation to sense the strain produced by a force. It is a very versatile detector for measuring weight, pressure, mechanical force, or displacement.

Strain, being a fundamental engineering phenomenon, exists in all matters at all times, due either to external loads or the the weight of the matter itself. These strains vary in magnitude, depending upon the materials and loads involved. Engineers have worked for centuries in an attempt to measure strain accurately, but only in the last decade have we achieved much advancement in the art of strain measurement. The terms linear deformation and strain are synonymous and refer to the change in any linear dimension of a body, usually due to the application of external forces. The strain of a piece of rubber, when loaded, is ordinarily apparent to the eye. However, the strain of a bridge strut as a locomotive passes may not be apparent to the eye. Strain as defined above is often spoken of as "total strain." Average unit strain is the amount of strain per unit length and has somewhat greater significance than does total strain. Strain gages are used to determine unit strain, and consequently when one refers to strain, he is usually referring to unit strain. As defined, strain has units of inches per inch.

Strain gages work on the principle that as a piece of wire is stretched, its resistance changes. A strain gage of either the bonded or the unbounded type is made of fine wire wound back and forth in such a way that with a load applied to the material it is fastened to, the strain gage wire will stretch, increasing its length and decreasing its cross-sectional area. The result will be an increase in its resistance, because the resistance, R, of a metallic conductor varies directly with length, L, and inversely with cross-sectional area, A. Mathematically the relationship is

where K is a constant depending upon the type of wire, L is the length of the wire in the same units as K, and A is the cross-sectional area measured in units compatible with K.

Four properties of a strain gage are important to consider when it is used to measure the strain in a material. They are:

1. Gage configuration.

2. Gage sensitivity.

3. Gage backing material.

4. Method of gage attachment.

The sensitivity of a strain gage is a function of the conductive material, size, configuration, nominal resistance, and the way the gage is energized.

Strain-gage conductor materials may be either metal alloys or semiconductor material. Nickel-chrome-iron- alloys tend to yield high gage sensitivities as well as have long gage life. These alloys are quite good when used for dynamic strain measurements, but because of a high temperature coefficient, they are not as satisfactory for static strain measurements.

Copper-nickel alloys are generally use when temperatures are below 500 to 600°F. They are less sensitive to temperature changes and provide a less sensitive gage factor than the nickel-chrome-iron alloys. Nickel-chrome alloys are useful in the construction of strain gages for high temperature measurements.

In using electric strain gages, two physical qualities are of particular interest, the change in gage resistance and the change in length (strain). The relationship between these two variables is dimensionless and is called the "gage factor" of the strain gage and can be expressed mathematically as:

In this relationship R and L represent, respectively, the initial resistance and the initial length of the strain gage wire, while R and L represent the small changes in resistance and length which occur as the gage is strained along with the surface to which it is bonded. The gage factor of a strain gage is a measure of the amount of resistance change for a given strain and is thus an index of the strain sensitivity of the gage. With all other variables remaining the same, the higher the gage factor, the more sensitive the gage and the greater the electrical output.

The most common type of strain gage used today for stress analysis is the bonded resistance strain gage shown below.

These gages use a grid of fine wire or a constantan metal foil grid encapsulated in a thin resin backing. The gage is glued to the carefully prepared test specimen by a thin layer of epoxy. The epoxy acts as the carrier matrix to transfer the strain in the specimen to the strain gage. As the gage changes in length, the tiny wires either contract or elongate depending upon a tensile or compressive state of stress in the specimen. The cross-sectional area will increase for compression and decrease in tension. Because the wire has an electrical resistance that is proportional to the inverse of the cross-sectional area, , a measure of the change in resistance will produce the strain in the material.

Thermocouple:

Thermocouples plays very important role in industry. They are used as transducers to produce electromotive force to actuate equipment. They are used directly in such devices as furnace valves, recorders, and temperature-recording instruments.

The simplest electrical temperature-sensitive device is the thermocouple. It consists of a pair of wires of dissimilar metals joined together at one end. The other ends are connected to an appropriate meter or circuit. The joined ends are known as the hot junction and the other ends are the cold ones. When the hot junction is heated, a measurable voltage is generated across the cold ends.

With proper selection of the wires, the voltage varies in relationship to the temperature being measured. Because of this, the thermocouple can be considered a thermoelectric transducer because of its characteristic of converting thermal energy into electrical energy. Figure 1 shows a typical circuit using a thermocouple to record temperature changes in a heat chamber.

When the thermocouple is heated at the hot junction, while the cold junction is at a relatively constant temperature, the difference in temperature of the two junctions causes the meter to indicate a current. The indication of the meter is calibrated to be proportional to temperature.

Photocell:

The photocell is used as a control device because of its diversified characteristics. The application of photocells in industry are numerous and varied. The photoemission cell gives off electrons from one plate to another when illuminated by a light Source. The plates require an initial voltage applied to them and the electrons emitted are called photoelectrons.

The photoconduction cell acts as a variable resistor. When light falls upon its sensitive material, the resistance of the device goes down, allowing more current to flow in the external circuit. The phototransistor is a good example of the photoconductor.

The photovoltaic cell is primarily a voltage Source. This device produces a potential (emf) when light falls upon its photosensitive material. This device does not require an external Source like the photoemission cell. The photographer's "electric eye" is an example of this device. Several of these cells can be placed in series to make what is known as a solar cell.

The photovoltaic cell can generate enough power to actuate a relay. The relay must be very sensitive and its resistance must be chosen so that the cell delivers approximately maximum power output. These relays are usually slow in action and are normally used where high speed is not essential. The photovoltaic cell can be used as a source to produce electrical energy. In the space industry they are called solar cells. Through these cells, scientists have been able to put man into space and recharge the batteries on board his space craft every time the craft is sunlit.

Because small voltages and currents are produced from fairly large-sized cells, about 0.6 volts per cell in full daylight, many cells are required to produce appreciable power. The internal resistance of this device is in the range of 300 to 6000 ohms, and its surface temperature should not exceed 122F.

Photoelectric cells of one type or another are being used in many places around the home and community. Some examples are the automatic eye which controls outside lights around the home, automatic opening and closing of doors at the supermarket, burglar alarms in various establishments, flame indicators for fire alarms, heat control, and also fluid level controllers.

One application of a photoemissive cell is in the operation of a relay. The relay could further be used to turn street lights on and off, dim the lights of an automobile or send a signal to the police or fire department. In most applications, we choose the photodevice on the basis of the light source and the degree of variation of the light. The selection specifies the size of supply voltage and the gain of the amplifier needed.

Resistance Temperature Detectors (RTDs):

Resistance temperature detectors, or RTDs, are highly accurate temperature sensors. They are also known for their excellent stability characteristics. They are used to measure temperature from 0°C to 450°C, although some can be used up to 800°C. Due to their low resistance values, you must be careful with the RTD lead resistances.

Resistance temperature detectors (RTDs) are made of coils or films of metals (usually platinum). When heated, the resistance of the metal increases; when cooled, the resistance decreases. Passing current through an RTD generates a voltage across the RTD. By measuring this voltage, you determine its resistance, and thus its temperature.

RTD Basics

- Resistance varies with Temperature

- Platinum 100 Ohm at 0°C

- Very accurate

- Very stable

Summary of RTD Characteristics

| Material | Platinum (most common), Gold, Copper, Nickel |
| --- | --- |
| Temperature Coefficient | Positive |
| Resistance | 10 Ohm to 1 kOhm |
| Standards | European and American |

Thermistor:

Thermistors are thermally sensitive resistors used in a variety of applications, including temperature measurement. A thermistor is a piece of semiconductor made from metal oxides, pressed into a small bead, disk, wafer, or other shape, sintered at high temperatures, and finally coated with epoxy or glass. The resulting device exhibits an electrical resistance that varies with temperature.

There are two types of thermistors  negative temperature coefficient (NTC) thermistors, whose resistance decreases with increasing temperature, and positive temperature coefficient (PTC) thermistors, whose resistance increases with increasing temperature. NTC thermistors are much more commonly used than PTC thermistors, especially for temperature measurement applications.

A main advantage of thermistors for temperature measurement is their extremely high sensitivity. Another advantage of the thermistor is its relatively high resistance. This high resistance diminishes the effect of inherent resistances in the lead wires, which can cause significant errors with low resistance devices such as RTDs. For example, while RTD measurements typically require 3-wire or 4-wire connections to reduce errors caused by lead wire resistances, 2-wire connections to thermistors are usually adequate. The major tradeoff for the high resistance and sensitivity of the thermistor is its highly nonlinear output and relatively limited operating range.

Thermistor Basics

- Thermally sensitive resistor

- Resistance varies with temperature

- Semiconductor made from metal oxides

- 2,252 Ohm to 10 k Ohm at 25 °C

- Up to 300 °C

- Very accurate, stable

- Fast response

Potentiometer:

The potentiometer is an instrument which can be used to measure the emf of a source (or the potential difference between two points in a circuit), without drawing any current. It is a null device, which essentially balances the unknown potential difference against an adjustable potential difference, which in turn can be calibrated in terms of a standard voltage cell.

The potentiometer is commonly used to measure voltages in situations where the circuit condition would be altered by the flow of current to a meter. One example is the measurement of the emf of a flashlight dry cell; such a cell has an appreciable internal resistance, and its terminal voltage will be lowered when current is drawn from it. Another example is the measurement of the small voltage across a thermocouple, used to determine temperature differences by means of the thermal emf produced at the junctions of dissimilar metals. In this case, the thermal emfs cannot supply sufficient current to be measurable on an ordinary meter.

Linear Variable Differential Transformer:

Another common type of transducer is the Linear Variable Differential Transformer, also known as the LVDT. The LVDT is basically a series of inductors in a hollow cylindrical shaft and a solid cylindrical core. See figure below. The LVDT produces a electrical output proportional to the position of the core. The LVDT may be used in many different types of measuring devices that need to convert changes in physical position to an electrical output. The lack of friction between the hollow shaft and the core prolong the life of the LVDT and enable very good resolution. In addition, the small mass of the core allows for good sensitivity in dynamic tests.

The LVDT is constructed with two secondary coils placed symmetrically on either side of a primary coil contained within the hollow cylindrical shaft. Movement of the magnetic core causes the mutual inductance of each secondary coil to vary relative to the primary, and thus the relative voltage induced from the primary coil to the secondary coil will vary as well.

These LVDT's may also be calibrated by varying the position of the core and measuring the corresponding output voltages. Then a calibration curve or calibration constant may be determined and applied to arrive at the engineering units of position.

Humidity Sensor:

Controlling the humidity in the greenhouse can yield powerful benefits in disease reduction, improved water and nutrient uptake, and improved plant growth. It is too often under utilized and not well understood. Humidity control is a standard function of nearly all greenhouse control systems. Humidity measurement is expressed as a percentage (i.e., relative humidity). It is the actual amount of moisture in the air, relative to the maximum capacity the air can hold. Accurate humidity sensing can be a challenge, even with the most expensive sensors, which are typically not suitable or practical for the commercial greenhouse industry.

There are three common types of humidity sensors: capacitive, resistive, and wet/dry bulb. Both capacitive and resistive solid-state sensors are fairly common because they offer reasonable accuracy and, in the humidity range typical of most horticultural applications, maintenance is generally limited to cleaning once or twice per year. However, solid-state sensors are susceptible to chemical contamination and high humidity conditions (i.e., over 90%), which may require more frequent recalibration or replacement.

Wet/dry bulb sensors offer the best accuracy if maintained properly, particularly in environments with humidity levels consistently above 90%, such as germination chambers and fog houses.

Proximity Switches:

Proximity Switches allow the user to detect the presence of material without having to make physical contact.

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 2

# Ohm’s Law Verification and Wheatstone Bridge

Objectives:

- To experimentally verify the ohm’s law.

- To experimentally study the balanced bridge circuit.

Apparatus:

DC Power Supply

DC current source

Few Resistors

Multimeter

THEORY:

Ohm’s Law:

The voltage across an element is directly proportional  to the current through it. The ohm’s law can be written mathematically as:

where  R = Resistance

V = voltage across the resistance R

I = Current through the resistance R

Bridge Circuit:

Bridge circuits are used to convert impedance variations into voltage variations. One of the advantages of the bridge for this task is that it can be designed so the voltage  produced varies around zero. This means that amplification can be used to increase the voltage level for increased sensitivity to variation of impedance. Another application of bridge circuit is in the precise static measurement of impedance.

Figure 1: Bridge Circuit.

A basic type of bridge circuit is shown in figure 1, where four resistances are connected. A galvanometer or voltmeter is used to compare the potentials of points a and b of the circuit. If the current through the galvanometer is zero OR the potential difference across points a and b is zero then the bridge circuit is known as Balanced bridge circuit. In balanced bridge circuit the relation among the resistances is given as:

PROCEDURE:

1.   Ohm’s Law:

- Connect the circuit as shown in figure 2.

- Set the DC voltage supply to 10 Volts.

- Set the resistance R to 100 ohms.

- Measure the voltage across the resistor and the current through the resistor and write the results in Table 1.

- Determine the value of the resistance using Ohm’s law R=V/I and record in the Table 1.

- Repeat step 2 to 5 for the other resistors (1000 ohms, 10 K ohms).

Figure 2: Ohm's Law

TABLE 1

| Resistor (Nominal Value) | 100 | 1 K | 10 K |
| --- | --- | --- | --- |
| Ohm-meter Reading |  |  |  |
| R = V / I |  |  |  |
| Percent Deviation from Nominal Value |  |  |  |

Percent Deviation = (Nominal Value – Ohm-meter Reading) /  (Nominal Value)

2.   Balanced Bridge:

Figure 3: Balanced Bridge Circuit

- Connect the circuit as shown in figure 3.

- Set the DC voltage supply to 10 Volts.

- Adjust the variable resistor R3 until current through the volt-meter becomes zero.

- Without altering R3, remove it from the circuit and measure its resistance using an ohm-meter and write in the following table.

| R1 | R2 | R3 | R4 |
| --- | --- | --- | --- |

Verification of Balanced Bridge Principle:

| R1 R4 | R2 R3 |
| --- | --- |

Conclusions:

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 3

# Wheatstone Bridge Circuit and Measurement of Resistance using Wheatstone Bridge equipment

Objectives:

- To experimentally study Wheatstone bridge.

- To experimentally measure resistance using Wheatstone bridge equipment.

Apparatus:

DC Power Supply

DC current source

Few Resistors

Multimeter

Wheat bridge equipment

THEORY:

Wheatstone Bridge Theory:

The Wheatstone Bridge is the most widely used circuit for precisely measuring resistance by the comparison method. The bridge is named after Charles Wheatstone who invented it in 1843.

Wheatstone Bridge Equipment Description:

The Wheatstone Bridge is designed to be used for precision resistance measurements in the laboratory.  Values of resistance from 0.001 to 9,999,000 ohms can be measured with this instrument. When the instrument is used as a Wheatstone bridge, the Ration Multiplier switch allows selection of seven multipliers from 0.001 to 1,000. Multiplying the reading obtained from the decade dials by the ratio selected yields the value, in ohms, of the unknown resistance. Ratio resistances are accurate to ±0.05%. The zero-center, null-point-indicating galvanometer has a sensitivity of 0.5 μA/div.

PROCEDURE:

1.   Simplified Wheatstone Bridge:

A simplified Wheatstone bridge circuit is shown in Figure 1. In the figure, R1, R2 and R3 are precision, adjustable resistances and X is the unknown resistance. You are required to measure the unknown resistance X.

Figure 1: Simplified Wheatstone Bridge Circuit

- Connect the power supply and resistances as shown in figure 1.

- Now vary resistances R3 until the volt-meter deflection is zero.

- Now using the following formula, the unknown resistance X can be determined:

| R1 | R2 | R3 | X |
| --- | --- | --- | --- |

2.   Measurement of Resistance using Wheatstone Bridge:

- To measure the unknown resistance, set the Ratio Multiplier to “1.0” and set all decade dials to “5”.

- Tap the “Low” Galvanometer Sensitivity key and note the direction of the galvanometer deflection.

- When the direction of the galvanometer deflection is determined, change the Ratio Multiplier one step at a time until the galvanometer deflection reverses direction.

- Vary the 1000-ohm decade dial to make the deflection a minimum. Continue to decrease the deflection by varying the 100-ohm decade dial, the 10-ohm decade dial and finally the 1-ohm decade dial.

- Depress the “High” Galvanometer Sensitivity key and, if necessary, further adjust the decade dials for zero galvanometer deflection.

- When the bridge is balanced the value of unknown resistance is equal to the product of the Ratio Multiplier and the decade reading.

| Resistor (Nominal Value) | 100 | 1 K | 10 K |
| --- | --- | --- | --- |
| Ohm-meter Reading |  |  |  |
| Wheatstone Bridge Reading |  |  |  |

Conclustions:

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 4

# MATERIAL BEHAVIOR

Objectives:

- To examine the behavior of thermister when heated.

- To examine the behavior of nichrome wire when loaded with weight.

- To examine the behavior of bimetallic strip when heated.

Apparatus:

DC Power Supply

Wheatstone bridge

Multimeter

Thermisters

Bimetallic strip

THEORY:

In this experiment, we will examine the behavior of some materials that affect control in mechanisms. You should already know that most materials are affected by varying environmental conditions. For instance, steel is affected by temperature, stress and strain. The resistance and the length of copper is affected by temperature. The length of wood and hair are affected by humidity. The conductivity of salt is affected by moisture. We use such knowledge in the design of control equipment. This equipment will investigate the effects of temperature, elongation, humidity, conductivity and hysteresis.

The resistance of a wire changes in two ways due to heat. One way is due to the temperature only, and the other way is due to the deformation of the wire when heat is applied. The reason that the resistance of a metal conductor changes when heat is applied is because the heat agitates the electrons, creating movement of electrons, which influences the resistance.

For most conducting materials, the resistance increases linearly with an increase in temperature over normal temperature ranges. Some alloys have been developed which do not increase very much at all with an increase in temperature. Temperature has very little effect on the resistance of this type of material.

There are a few materials that have a negative temperature-resistance characteristic; that is, the resistance decreases as the temperature increases. Carbon is one example. Some materials with high temperature characteristics are used in temperature-measuring devices. These materials often exhibit non-linear resistance characteristics and are known by names like sensitors or thermisters. The resistance of wire also changes with change in length. The change in length can be brought about through effects of temperature, or by stretching.

The coefficient of linear expansion is a term used when dealing with materials whose length changes due to temperature changes, stretching due to strain, etc. The coefficient of linear expansion, C, is defined as the change in length, of each unit length, for a rise of temperature of one degree. The most common example of temperature affecting the length of an object is the mercury tube thermometer. It is well known that a mercury tube thermometer is a good indicator of temperature because of its linear expansion when influenced by small temperature changes. When heated, the mercury column expands and rises, and when cooled, the mercury column contracts and returns toward the bottom.

Another example of a control device utilizing expansion due to heat is the thermostat. The temperature-sensitive part of the thermostat is a bimetallic strip consisting of two dissimilar metals welded together. Each material has a different rate of expansion due to heat. Commonly used materials are brass with a high rate of expansion, and invar, an alloy of nickel and iron, which has a relatively low rate of expansion. As the bimetallic strip is heated, the greater expansion rate of the brass will cause the free end of the strip to bend upward. When cooled, the strip will return to its original position. The amount the strip bends is directly proportional to the temperature.

The thermostat may be used as an indicating thermometer by attaching a pointer to the free end of the strip and permitting it to move over a calibrated temperature scale. It may also be used to activate the control circuit of some heating or cooling system. When the contacts touch, a circuit is closed which in turn energizes the control mechanism.

.\ ,...

,

i i

I

,

~

I

i

...

,

! Ii

f

it

:,

; I; ".

Another control device which utilizes the principle of temperature affecting the length of a body is the heater thermostat used in the automobile. This device is shown in figure 1. When the water temperature of the automobile is cold, the spring in figure 1 is in compression and restricts the water flow path. Since the water circulation is restricted, it gets hotter and hotter as the engine runs. When a preset temperature is reached, the spring begins to expand, pushing the ballshaped plunger down out of its socket. As the plunger leaves the socket, the water is able to flow more freely through the motor. This thermostat helps keep the engine at a constant temperature, and helps in rapid warming of the heater during the winter months.

Figure 1: Automobile Thermostate

The length of a metallic conductor also changes when under stress. Here again the change in length affects the resistance of the conductor. Because there are no absolutely elastic materials, none will return to its exact original shape when the deforming force is removed. This is because the molecular material has internal friciton. Steel, glass, copper, brass, and other materials develop only small internal friction when they are only distorted a small amount.

PROCEDURE:

A.  Thermister:

- Measure the resistance of the thermister using wheatstone bridge at room temperature.

- Now start heating the thermister, then measure the resistance of thermister after heating.

- Record the results below and then write your conclusions in your own words.

Thermister Resistance at Room Temperature:                                      .

Thermister Resistance after Heating:                                                     .

Conclusions:

B.  Bimetallic Strip:

- You are provided a bimetallic strip.

- Heat the bimetallic strip, you will observe the small deformation in its shape.

- Write your conclusions in your own words.

Conclusions:

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 5

# Thermocouple Voltage Measurement

Objectives:

To examine the thermocouple voltage and find corresponding temperature under the following conditions:

- To measure voltage of thermocouple without considering the intermediate thermocouple effect of measurement setup.

- To measure voltage of thermocouple with ice-point reference junction and fine corresponding voltage using the thermocouple table.

- To measure voltage of thermocouple using ambient reference block and calculate the corrected voltage and then find the corresponding temperature.

Apparatus:

J type thermocouples

4-1/2 digit DVM.

Temperature Indicator.

Ice point water

Boiling water

Theory:

Theory as per attached sheets.

Procedure:

- Setup the experiment as Figure 4 in theory sheets and measure voltage V.

V = _____________________

T = _____________________

- Setup the experiment as Figure 6 of theory sheets and measure voltage V and calculate V1. Find temperature (T1) corresponding to V1 from table.

where,

| V | V1 | T | T1 |
| --- | --- | --- | --- |

- Setup the experiment according to figure 12.

  - Note reference temperature, which will be ambient temperature from temperature indicator.

  - Measure V and find V1.

  - Find the temperature from table corresponding to V.

| TREF | V | V1 | T | T1 |
| --- | --- | --- | --- | --- |

- Compare voltages from setup 1, 2 and 3 and write your conclusions below.

Conclusions:

Explain:

Which set up gives the correct temperature?

Which set up gives maximum error?

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 6

Strain Gauge Application and

Measurement of Unknown Load

Objectives:

- To find the effect of loading on strain gauge resistance using Wheatstone bridge.

- To find the effect of loading on strain gauge and find voltage difference using bridge circuit.

- To find unknown load by using results and graphs obtained in part 1 and 2.

Apparatus:

Strain gauge

Different Weights 1 kg, 2k, 5 kg.

4-1/2 digit DVM.

Wheatstone bridge

Three resistances of 120 ohms.

Power supply

Theory:

The strain gauge is a transducer employing electrical resistance variation to sense the strain produced by a force or weight. It is a very versatile detector for measuring weight, pressure, mechanical force, or displacement.

Strain, being a fundamental engineering phenomenon, exists in all matters at all times, due either to external loads or the weight of the matter itself. These strains vary in magnitude, depending upon the materials and loads involved. Engineers have worked for centuries in an attempt to measure strain accurately, but only in the last decade we have achieved much advancement in the art of strain measurement. The terms linear deformation and strain are synonymous and refer to the change in any linear dimension of a body, usually due to the application of external forces. The strain of a piece of rubber, when loaded, is ordinarily apparent to the eye. However, the strain of a bridge strut as a locomotive passes may not be apparent to the eye. Strain as defined above is often spoken of as "total strain." Average unit strain is the amount of strain per unit length and has somewhat greater significance than does total strain. Strain gauges are used to determine unit strain, and consequently when one refers to strain, he is usually referring to unit strain. As defined, strain has units of inches per inch.

Strain gauges work on the principle that as a piece of wire is stretched, its resistance changes. A strain gauge of either the bonded or the unbonded type is made of fine wire wound back and forth in such a way that with a load applied to the material it is fastened to, the strain gauge wire will stretch, increasing its length and decreasing its cross-sectional area. The result will be an increase in its resistance, because the resistance, R, of a metallic conductor varies directly with length, L, and inversely with cross-sectional area, A. Mathematically the relationship is

where  is a constant depending upon the type of wire, L is the length of the wire in the same units as , and A is the cross-sectional area measured in units compatible with .

Four properties of a strain gauge are important to consider when it is used to measure the strain in a material. They are:

1. Gauge configuration.

2. Gauge sensitivity.

3. Gauge backing material.

4. Method of gauge attachment.

The sensitivity of a strain gauge is a function of the conductive material, size, configuration, nominal resistance, and the way the gauge is energized.

Strain-gauge conductor materials may be either metal alloys or semiconductor material. Nickel-chrome-iron-alloys tend to yield high gauge sensitivities as well as have long gauge life. These alloys are quite good when used for dynamic strain measurements, but because of a high temperature coefficient, they are not as satisfactory for static strain measurements.

Copper-nickel alloys are generally use when temperatures are below 500 to 600°F. They are less sensitive to temperature changes and provide a less sensitive gauge factor than the nickel-chrome-iron alloys. Nickel-chrome alloys are useful in the construction of strain gauges for high temperature measurements.

In using electric strain gauges, two physical qualities are of particular interest, the change in gauge resistance and the change in length (strain). The relationship between these two variables is dimensionless and is called the "gauge factor" of the strain gauge and can be expressed mathematically as:

In this relationship R and L represent, respectively, the initial resistance and the initial length of the strain gauge wire, while R and L represent the small changes in resistance and length which occur as the gauge is strained along with the surface to which it is bonded. The gauge factor of a strain gauge is a measure of the amount of resistance change for a given strain and is thus an index of the strain sensitivity of the gauge. With all other variables remaining the same, the higher the gauge factor, the more sensitive the gauge and the greater the electrical output.

The most common type of strain gauge used today for stress analysis is the bonded resistance strain gauge shown below.

These gauges use a grid of fine wire or a constantan metal foil grid encapsulated in a thin resin backing. The gauge is glued to the carefully prepared test specimen by a thin layer of epoxy. The epoxy acts as the carrier matrix to transfer the strain in the specimen to the strain gauge. As the gauge changes in length, the tiny wires either contract or elongate depending upon a tensile or compressive state of stress in the specimen. The cross-sectional area will increase for compression and decrease in tension. Because the wire has an electrical resistance that is proportional to the inverse of the cross-sectional area,  , a measure of the change in resistance will produce the strain in the material.

Procedure:

(A)	Using Wheatstone bridge:

- Connect strain gauge with Wheatstone bridge and find the resistance of strain gauge with no load and record the value in the table.

- Find the resistance of strain gauge with loads, 1 kg, 2 kg, 3 kg, 4 kg and 5 kg, through Wheatstone bridge and record the values in the table.

| Load (kg) | Resistance (ohms) |
| --- | --- |
| 0 |  |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |
| 5 |  |
| Unknown |  |

- Plot Resistance versus Load in the graph paper and write your conclusions.

(B)	Using Bridge Circuit:

- Connect strain gauge with the bridge circuit as shown the following figure. Set the power supply to 10 Volts and all three resistances are 120 ohms.

- Find the voltage difference () across nodes “a” and “b” using digital volt-meter (DVM) with no load and record the value in the table.

- Find the voltage difference () using digital volt-meter (DVM) with loads, 1 kg, 2 kg, 3 kg, 4 kg and 5 kg, and record the values in the following table.

| Load (kg) | Voltage Difference (mV) |
| --- | --- |
| 0 |  |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |
| 5 |  |
| Unknown |  |

- Plot the voltage difference versus Load in the graph paper and write your conclusions.

(C)	Find Unknown Load using Graphs:

- Find the unknown load using resistance versus load graph (obtained in part A).

Unknown Load : _____________________ kg.

- Find the voltage difference using voltage difference versus load graph (obtained in part B).

Unknown Load : _____________________ kg.

Conclusions:

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 7

Strain Gauge Measurement using Strain Indicator

Objectives:

Find strain of the strain gauge using Strain Indicator.

Apparatus:

Strain gauge

Different Weights 1 kg, 2k, 5 kg.

Strain Indicator

Theory:

The strain gauge is a transducer employing electrical resistance variation to sense the strain produced by a force or weight. It is a very versatile detector for measuring weight, pressure, mechanical force, or displacement.

The Model P-3500 Strain Indicator is a portable, battery-powered instrument with unique features for use in stress analysis testing, and for use with strain gage based transducers. In use, the operator follows a logical sequence of setup steps by activating color-coded push-button controls to prepare the instrument for making accurate and reliable measurements. The P-3500 also incorporates a highly stable DC amplifier, precisely regulated bridge excitation supply, and precisely settable gage factor controls.

Static measurements are displayed directly on the indicator's readout with 1 micro-strain resolution. The instrument will accept full-, half-, or quarter-bridge strain gage inputs, and all required bridge completion components for 120, 350 and 1000 ohm gages are built in.

Gage factor is precisely settable (to a resolution of 0.001) by a front-panel 10-turn potentiometer, and is displayed on the digital readout when the gage factor push button is depressed.

Strain Indicator P-3500 Front Panel

Procedure:

The P-3500 is designed for ease of operation, the push-button switches and front panel controls are arranged such that the proper setup procedure generally follows a straightforward left-to-right sequence. To measure the strain, the steps is outlined below:

- Select 1/4-1 /2 position of BRIDGE push button.

- Select Xl position of MULT push button.

- Connect strain gage to binding posts connector. These binding posts are color-coded in accordance with conventional practice, and are clearly labeled. Input connections are shown on the inside cover of the instrument.

- Depress AMP ZERO push button. Allow instrument to warm up for two minutes minimum. Set AMP ZERO control for a readout display of ±0000. This adjustment must be made with MULT in Xl position.

- Depress GAGE FACTOR push button. Set GAGE FACTOR range switch and GAGE FACTOR control for the desired gage factor.

- Depress the RUN push button. Set the BALANCE switch and the BALANCE control for a reading of ±0000. This setting must be made with the MULT in the Xl position.

- Depress the CAL push button and verify calibration of the instrument.

- Select the Xl or Xl 0 MUL T position as required.

- Depress the RUN push button. Load the strain gage system using and record the reading in the table 1.

Table 1

| Load (kg) | Strain (micro-strain) |
| --- | --- |
| 0 |  |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |
| 5 |  |
| Unknown |  |

Find Unknown Load using Graph:

- Plot the readings obtained from tables 1 on the graph paper as strain versus load.

- Find the unknown load using strain versus load graph (obtained from table 1).

Unknown Load : _____________________ kg.

Conclusions:

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 8

Strain Gauge Measurement by Applying Displacement using Strain Indicator

Objectives:

Measuring strain when the strip end is displaced in the strain gauge micrometer device.

Apparatus:

Strain gauge

Staring gauge micrometer

Different Weights 1 kg, 2k, 5 kg.

Strain Indicator

Theory:

The strain gauge is a transducer employing electrical resistance variation to sense the strain produced by a force or weight. It is a very versatile detector for measuring weight, pressure, mechanical force, or displacement.

The Model P-3500 Strain Indicator is a portable, battery-powered instrument with unique features for use in stress analysis testing, and for use with strain gage based transducers. In use, the operator follows a logical sequence of setup steps by activating color-coded push-button controls to prepare the instrument for making accurate and reliable measurements. The P-3500 also incorporates a highly stable DC amplifier, precisely regulated bridge excitation supply, and precisely settable gage factor controls.

Static measurements are displayed directly on the indicator's readout with 1 micro-strain resolution. The instrument will accept full-, half-, or quarter-bridge strain gage inputs, and all required bridge completion components for 120, 350 and 1000 ohm gages are built in.

Gage factor is precisely settable (to a resolution of 0.001) by a front-panel 10-turn potentiometer, and is displayed on the digital readout when the gage factor push button is depressed.

Strain Indicator P-3500 Front Panel

Procedure:

- Measuring Strain using Strain Indicator:

The P-3500 is designed for ease of operation, the push-button switches and front panel controls are arranged such that the proper setup procedure generally follows a straightforward left-to-right sequence. To measure the strain, the steps is outlined below:

- Select 1/4-1 /2 position of BRIDGE push button.

- Select Xl position of MULT push button.

- Connect strain gage to binding posts connector. These binding posts are color-coded in accordance with conventional practice, and are clearly labeled. Input connections are shown on the inside cover of the instrument.

- Depress AMP ZERO push button. Allow instrument to warm up for two minutes minimum. Set AMP ZERO control for a readout display of ±0000. This adjustment must be made with MULT in Xl position.

- Depress GAGE FACTOR push button. Set GAGE FACTOR range switch and GAGE FACTOR control for the desired gage factor.

- Depress the RUN push button. Set the BALANCE switch and the BALANCE control for a reading of ±0000. This setting must be made with the MULT in the Xl position.

- Depress the CAL push button and verify calibration of the instrument.

- Select the Xl or Xl 0 MUL T position as required.

- Depress the RUN push button. Displace the end of strip and record the reading of strain in the table 1.

- Plot the graph of Strain versus Resultant Displacement and find the slope of the graph and find strain at displacement of 0.115 inch from graph.

Table 1

| S. No. | Displacement (inch) | Resultant Displacement (x-a) (inch) | Strain (micro-strain) |
| --- | --- | --- | --- |
| 1 | a = |  | 0 |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |

- Measuring Differential Voltage of Full Bridge Circuit when Strip is displaced:

- Connect strain gauge with the bridge circuit as shown the following figure. Set the power supply to 10 Volts and all three resistances are 120 ohms.

- Find the voltage difference () across nodes “a” and “b” using digital volt-meter (DVM) without any displacement and record the value in the table 2.

- Apply some displacement using micrometer and find the voltage difference () using digital volt-meter (DVM) and record the values in the following table 2.

- Plot the graph of differential voltage versus Resultant Displacement and find the slope of the graph and find the differential voltage at displacement of 0.115 inch from graph.

Table 1

| S. No. | Displacement (inch) | Resultant Displacement (x-a) (inch) | Differential Voltage (Volts) |
| --- | --- | --- | --- |
| 1 | a = |  | 0 |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |

Conclusions:

Compare the slope of the two graphs? And write your comments.

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 9

Linear Variable Differential Transformer Measurements

Objectives:

Measuring voltage with displacement variation using Linear Variable Differential Transformer (LVDT).

Apparatus:

LVDT

Micrometer for LVDT

Voltmeter

Theory:

The Linear Variable Differential Transformer is a position sensing device that provides an AC output voltage proportional to the displacement of its core passing through its windings. LVDTs provide linear output for small displacements where the core remains within the primary coils. The exact distance is a function of the geometry of the LVDT.

An LVDT is much like any other transformer in that it consists of a primary coil, secondary coils, and a magnetic core. An alternating current, known as the carrier signal, is produced in the primary coil. The changing current in the primary coil produces a varying magnetic field around the core. This magnetic field induces an alternating (AC) voltage in the secondary coils that are in proximity to the core. As with any transformer, the voltage of the induced signal in the secondary coil is linearly related to the number of coils. The basic transformer relation is:

where:

Vout is the voltage at the output,

Vin is the voltage at the input,

Nout is the number of windings of the output coil, and

Nin is the number of windings of the input coil.

As the core is displaced, the number of coils in the secondary coil exposed to the coil changes linearly. Therefore the amplitude of the induced signal varies linearly with displacement.

The LVDT indicates direction of displacement by having the two secondary coils whose outputs are balanced against one another. The secondary coils in an LVDT are connected in the opposite sense (one clockwise, the other counter clockwise). Thus when the same varying magnetic field is applied to both secondary coils, their output voltages have the same amplitude but differ in sign. The outputs from the two secondary coils are summed together, usually by simply connecting the secondary coils together at a common center point. At an equilibrium position (generally zero displacement) a zero output signal is produced.

The induced AC signal is then demodulated so that a DC voltage that is sensitive to the amplitude and phase of the AC signal is produced.

Procedure:

- Connect the LVDT with the micrometer.

- Connect the Voltmeter with the LVDT signal conditioner.

- Connect the LVDT signal conditioner with the power supply of 110 Volts.

- Set the position of LVDT such that a range of voltage from +10 to -10 volts can be achieved.

- Change the LVDT displacement and record the voltmeter reading in the table.

- Plot the graph voltage versus displacement.

Table 1

| S. No. | Displacement (inch) | Resultant Displacement (x-a) (inch) | Voltage (Volts) |
| --- | --- | --- | --- |
| 1 | a = |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |

Conclusions:

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 10

Event Counting using Slotted Opto Switch

Objectives:

Design a circuit to count rotations of a disk/wheel using slotted opto switch.

Apparatus:

Slotted opto switch RS 306-061

Transistor, 2N3053

Resistors, 270 ohms, 22 k-ohms, 4.7 k-ohms.

Theory:

Slotted type Opto Switches are used when an object is located in the sensing position in the slot between the emitter and the receiver, it intercepts the optical beam of the emitter.

Procedure:

- Connect the circuit as shown in the figure.

- First connect the LED at the counting terminal of the circuit.

- Set the wheel (attached with the DC motor) in between the slots of the opto switch.

- Turn ON the power supply and turn ON the DC motor and observe that the LED will be blinking because of the wheel rotations, that shows the low and high pulse across the LED.

- Connect the oscilloscope instead of the LED and observe the pulse in the oscilloscope.

- Connect the counter instead of the LED and observe the counting of the wheel  rotations.

Conclusions:

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 11

X-Y Recorder

Objectives:

Record both strain gauge resistance variation and LVDT displacement variation simultaneously on the XY Recorder.

Apparatus:

LVDT

Strain Gauge

Strain Gauge Indicator

LVDT conditioner

XY Recorder

Theory:

We use an analog recorder so the operator can see what is happening while the experiment is in progress. An X-Y recorder is used for recording two signals simultaneously. Here the system consists of a strain transducer which produces a signal proportional to the applied load, an LVDT which produces a signal proportional to the vertical displacement of the sample, and an X-Y recorder for recording both signals simultaneously.

The X-Y recorder is a very useful instrument for measuring and plotting various voltage signals. A one-pen recorder for instance can plot two signals simultaneously, one as a function of the other, or one signal as a function of time. There are multi-pen recorders that can plot many signals simultaneously. Although the X-Y recorder is a voltage measuring device, the voltage can represent most anything, depending upon the problem. When using the X-Y recorder to record. For example, an X-Y recorder rated at a slew-rate of 40 cm/second would give an inaccurate recording for signals exceeding this rating. In using the X-Y recorder, it is obviously important that one know how to “set it up”. Normally, this is not difficult if the magnitudes of the signals being recorded are such that the calibrated settings on the X-Y recorder can be used.

Procedure:

- Set up the connection as quarter bridge on strain indicator.

- Connect the analog output of the strain indicator with the X side of the X-Y recorder.

- Set the LVDT with stand to monitor the displacement and connect it to LVDT conditioner.

- Connect output of LVDT conditioner to the Y axis of recorder of recorder.

- Set the X-Y recorder range and scales; X scale in mV range and Y in Voltage range.

- Put some load on the strip and observe the plot in the X-Y recorder.

- Put load of 500 gm, 1 kg, 1.5 kg, 2 kg, 2.5 kg and observe the plot in the X-Y recorder.

Conclusions:

# University Diploma Program

# Electronic Equipment Maintenance

Lab Instructor: Muhammad Ajmal Khan

##### EET-027, Experiment # 12

PC-Based Data Logging

Objectives:

Designing of PC-Based Data Logging and Recording system for the temperature.

Apparatus:

A Computer with windows operating system, Matlab, and Terminal Software.

A Temperature sensor device with serial port interface feature

Theory:

Data logging and recording is a very common measurement application. In its most basic form, data logging is the measurement and recording of physical or electrical parameters over a period of time. The data can be temperature, strain, displacement, flow, pressure, voltage, current, resistance, power, or any of a wide range of other parameters. Real-world data logging applications are typically more involved than just acquiring and recording signals, typically involving some combination of online analysis, offline analysis, display, report generation, and data sharing. Moreover, many data logging applications are beginning to require the acquisition and storage of other types of data, such as recording sound and video in conjunction with the other parameters measured during an automobile crash test.

Data logging is used in a broad spectrum of applications. Chemists record data such as temperature, pH, and pressure when performing experiments in a lab. Design engineers log performance parameters such as vibration, temperature, and battery level to evaluate product designs. Civil engineers record strain and load on bridges over time to evaluate safety. Geologists use data logging to determine mineral formations when drilling for oil. Breweries

log the conditions of their storage and brewing facilities to maintain quality. (See attached tutorials A Review of PC-Based Data Logging and Recording Techniques for more detail).

The list of applications for data logging goes on and on, but all of these applications have similar common requirements. The purpose of this experiment is to design a simple data logging system to record the data from a temperature sensor and analyze the data in real environment.

Realterm is a terminal program specially designed for capturing, controlling and debugging binary and other difficult data streams. It is far better for debugging comms than Hyperterminal. It has no support for dialing modems, BBS etc - that is what hyperterminal does. (See attached tutorial of Terminal Software for more details)

Procedure:

- Connect the temperature sensor device with the computer through serial port interface.

- Start the Real Term software in the computer.

- Configure settings of Real Term software, go to Port option and set baud rate to 9600 bps, then go to Capture option and set the path and filename to save the captured data.

- Start Matlab and run the program exp13.m

- Observe the graph representing temperature versus time.

Conclusion:

# Text boxes

## LAB MANUAL

Term-062