King Fahd University of Petroleum and Minerals

Department of Civil Engineering

Durability, Evaluation and Repair

of Concrete Structures - CE 402

Second Semester 2008-09 (2)

Instructor	:  Dr. Ahmad Al-Gahtani

Office		:  16-1322	Phone	:  2220	   	e-mail: agahtani@kfupm.edu.sa

Course Outline

| WEEK | LECTURE | TOPIC |
| --- | --- | --- |
| 1-3 | 1-6 | Introduction Properties of concrete materials: - Portland cement compositions and types - Water contamination - Aggregate properties - Admixtures - Material-related deterioration problems Objectives: Basic concept, affecting factors, measurement, and significance of each of the above properties. |
| 4-6 | 7-12 | Environmental factors affecting concrete structures: - Temperature - Moisture - Chemical reactions - Biological effects Objectives: Basic concept, affecting factors, measurement, and significance of each of the above items. ** (1st Exam, April 6, 2009) |
| 7-9 | 13-16 | Concrete durability problems in the Gulf: - Reinforcement corrosion - Sulfate attack - Alkali-silica reaction - Seawater attack (salt weathering and crystallization) - Abrasion, erosion, and cavitation - High temperature and fire problems Objectives: Mechanism, impact on performance of concrete, affecting factors, and protection measures. ** (2nd Exam,May 18 , 2009) |
| 10-15 | 17-30 | Investigations and inspection of deteriorated concrete structures: - Condition survey - Damage assessment - Repair options and repair principles - Repair methods - Repair materials - Examples of repair to concrete structures |

Textbook:	Neville, A.M., Properties of Concrete, 4th edition, Pitman Publishing Ltd., London, 1999.

References:	In addition to the textbook provided, the topics to be covered in this course will include materials from a variety of references.  Some of the main references will include:

1)	Mays, G.C. (Editor), Durability of Concrete Structures: Investigation, Repair, Protection, E & FN Spon, London, 1992.

2)	Bungey, J.H. and Millard, S.G., Testing of Concrete in Structures, 3rd edition, 1996, Blackie Academic & Professional, Glasgow, UK.

3)	Campbell-Allen, D. and Roper, H., Concrete Structures: Materials, Maintenance and Repair, Longman Scientific & Technical, U.K, 1991.

4)	Pullar-Strecker, P., Corrosion Damaged Concrete: Assessment and Repair, Butterworths, 1987.

Tentative Grading:

H.W. & Attendance					=	10%

Design Project						=	10%

Major-I Examination – April 6, 2009 		=	25%

Major-II Examination – May 18, 2009 		=	25%

Final Examination  					=	30%

Some scientific/reconnaissance visits will tentatively be carried out to the following:

1.	Research Institute at KFUPM (XRD, SEM, and DTA).

2.	Laboratory demonstrations on assessment techniques and procedures.

3.	A fusion-bonded epoxy-coated rebar factory.

4.	A construction site where foundations are being protected against deterioration.

5.	A construction site where assessment of a structure is being conducted.

6.	A construction demonstrations on assessment techniques and procedures.