| Year 010 EE 434 Industrial Instrumentation |  |  |
| --- | --- | --- |
| Dr. Munir A. Al-Absi, B59- Room 1090 Office hours Sat 8-9,Sun 12:30-1:00, Wed 10-11 |  |  |
| # of Lectures | Topics | Lab Experiment |
| 2 | Introduction and basic definitions - Measurement system, Types of signals - Sensors, Actuators, Data Acquisition - Transducer Characteristics (linearity, Calibration, compensation, working range, response time(bandwidth), - Passive and active transducers, digital transducers | - No Lab - 555 Timer - Bridge circuit and instrumentation amplifier - Temperature measurements using RTD sensor - Temperature measurements using LM 35, & A/D - No Lab - D/A converters & scaling circuits - Magnetic and light sensors application - Transducer Trainer Demo - Labview Tutorial I - Labview Tutorial II - Project - Project - Project - Project Presentation |
| 5 | Temperature Sensors and temperature measurements - RTD, Thermistor ( NTC and PTC) , - IC Temp sensor , - Thermocouples, - Infra red Temperature sensors - Temperature sensors selection criterion |  |
| 7 | Signal conditioning circuits - Darlington transistor - Relay - Operational Amplifier - Difference Amplifier - Instrumentation Amplifier - Scaling and calibration - Voltage -to-current converters - A/D and D/A converters - Sampling Rate and Nyquist criterion, Noise and noise margin |  |
| Monday ,Nov 1, 2010 Major exam #1 |  |  |
| 4 | Light sensors - Photo resistors, Photo diodes, photo transistor, - Opto-couplers, - Infrared system - Ultrasound sensors, - Hall effect sensor - Magnetic sensors (reed switch) |  |
| 3 | Strain Gauges and Load cells |  |
| 3 | Level and displacement measurements. - Displacement measurements using - Potentiometer (linear and angular)& LVDT - Level measurements - Potentiometer arm, capacitive sensor in - conductive and in nonconductive - materials & ultrasound transmitter |  |
| Saturday , Junary 8,2010 Major exam #2 |  |  |
| 2 2 | Pressure Sensors and pressure measurements Flo Flow sensors and flow measurements |  |
| 2 | Introduction to Foundation Fieldbus |  |

Grading:  Quizzes 10%,  Assignment 5% ,Two major exams 30%, Term Project 10%,

Lab(Participation+ Reports)15%,  Final Exam 30%