INTRODUCTION

Locating transmission line faults quickly and accurately is very important for economy, safety and reliability of power system. Existing methods for fault location such as measuring the changes of impedance or voltage and current of line before and after a fault occurred seriously rely on fault type, grounding resistance, load conditions and system running way.

This paper presents a recent fault location method based on the double terminal methods of traveling wave using CWT which has much better resolution for locating a transient event in time-domain. Matlab simulation results show the new method is a good and powerful tool to estimate the disrupts location on the transmission line when fault occurs.

The first section in this report will be a quick review of major electrical system components. Some concentration will be focused on transmission line system which is out point of interest in this project, especially the traveling wave theory.

- Transmission line background

  - Main power system components

Electricity is produced in generators. It is then sent many kilo-meters to distribution load centers by transmission lines. The transmission network connects generators with the major centers where people use electricity. Therefore, an electric power system consists of three principal divisions:

- generating system

- transmission system

- distribution system

  - transmission lines specifications & modeling

the transmission network is a high voltage network designed to carry power over long distances from generators to load points. This transmission system consists of:

- insulated wires or cables for transmission of power

- transformers for converting from one voltage level to another

- protective devices, such as circuit breakers, relays.

- physical structures such as towers and substations.

Any transmission line connecting two nodes may be represented by its basic parameters, namely:

1. Resistance (R)

2. Inductance (L)

3. Capacitance (C)

The equivalent circuit for any transmission line is shown in fig.1

Figure.1 equivalent circuit for a short transmission line

Transmission lines may be modeled as:

- short lines ( < 80 km )

- medium-length line ( 80 km < length < 240 km )

- long lines ( > 240km )

  - Types of faults on Transmission lines

The normal mode of operation of a power system is a balanced 3-phase AC. There are undesirable incidents that may disrupt normal conditions, as when the insulation of the system fails at any point. Then we say a fault occurs. Faults may be classified under four types:

- single line-to-ground fault SLG

- line-to-line fault L-L

- double line-to-ground fault 2LG

- balanced three-phase fault

  - Protection schemes for transmission lines

The protection system is designed to disconnect the faulted system element automatically when the short circuit currents are high enough to present a direct danger to the element or to the system as a whole. The protection system consists of three principal components

- sensor

- protective relay

- circuit breaker

There are two types of protection:

    - primary protection

    - backup protection

Primary protection is provided to ensure fast and reliable tripping of the circuit breakers to clear faults occurring within the boundary of its own zone of protection, while backup protection is provided in case the primary protection fails to operate or is under repair or maintenance.

- Fault detection methods in transmission lines

  - Some of the fault location techniques

Several fault location algorithms based on one-terminal have developed since several years ago. They can be divided into two categories:

    - algorithm based on impedance

    - algorithm based on traveling wave.

The former uses current and voltage sampling data to measure post-fault impedance. Based on the knowledge of line impedance per unit length, the fault distance can be calculated. While in the later, traveling wave determines fault location with the time difference between initial wave and its reflection one's arrival at the point of fault locator.

  - Algorithms of fault location based on traveling waves

When a line fault occurs, abrupt change in voltage or in current at the fault point generates a high frequency electromagnetic signal called traveling wave. This traveling wave propagates along the line in both directions away from the fault point.

1) Single-ended fault location algorithm

Single terminal methods are that the fault point is calculated by the traveling time between the first arrival of the traveling wave and the second arrival of the reflection wave at end of the line. This time is proportional to the fault distance and the key is to analyze the reflection process of traveling wave. A correlation technique is used to recognize the surge returning from the fault point and distinguish it from other surges present on the system. The method is suitable for a typical long line, but surely is inadequate for a close-in fault only a few kilometers from the measuring point. It thinks of the different velocities of earth mode and aerial mode, but the fault location error is great for the velocity chosen is not reliable.

2) Double-ended fault location algorithm

The double terminals methods are that fault point is determined by accurately time tagging the arrival of traveling wave at each end of the line.  This method depends less on grounding resistance and system running-way, etc... This method is used widely. The velocity is determined by the distributed parameters ABCD of the line and usually varies in the range 295-29m/us for 500 kV line.  The accuracy is improved by right of higher frequency components of traveling wave generated by lighting strikes.

- Wavelet and its transform fundamentals

  - Wavelet theory and its basic characteristics

WT has become well known as a new useful tool for various signal-processing applications. The wavelet transform of a signal f(t) ( L2 ( R) is defined by the inner-product between (ab (t) and f (t) as:

Wf(a,b) = 		(1)

Where,

  - Features and properties

    - Mother wavelet

((t) is a basic wavelet or mother wavelet, which can be taken as a band-pass function (filter). The asterisk denotes a complex conjugate, and a,b ( R, a=/ 0, are the dilation and translation parameters. The CWT was originally introduced by Goupilaud, Grossmann, and Morlet.

    - Scaling wavelet

In the previous wavelet function, the time remains continuous but time-scale parameters (b,a) are sampled on a so-called “dyadic” grid in the time-scale plane (b,a). Therefore, instead of continuous dilation and translation the mother wavelet may be dilated and translated discretely by selecting a = a0m and b= nb0a0m, where a0 and b0 are fixed constants with a0 > 1, b0 >0, m, n(Z is the set of positive integers. Then, the discretized mother wavelet becomes

(3)

and the corresponding discrete wavelet transform is given by

DWfm.n = 				(4)

Where (m.n (t) is given in (3)

It is possible to perfectly recover the original signal f(t) from its coefficients Wf(a,b). The reconstructed signal is defined as:

f(t) =    			(5)

where

Wh = 				(6)

Wavelets exist locally in both the domains of time and frequency, owing to the good localization and the dilation/translation operation.

Analysis by orthogonal wavelets shows little hope for achieving good time localization. We study how to use CWT to solve the problems of fault location in transmission lines. It is very advantageous for expanding the applied fields of WT and improving safety and reliability of power system.

  - Advantages of wavelet transformation over other conventional methods

Two fundamental tools in signal analysis are the Windowed (or short-time) Fourier Transform (WFT) and the CWT. Both methods decompose a signal by performing inner products with a collection of running analysis functions. For the WFT, the signal is decomposed into a summation of periodic and sinusoidal function. The time and frequency resolution are both fixed. That makes this approach particularly suitable for the analysis of signals with slowly varying periodic stationary characteristics. Hence, Fourier transform doesn’t indicate when an “event” occurs and doesn’t work well on discontinuous.

For the CWT, the analysis functions are obtained by dilation of a single (band-pass) wavelet. CWT uses short windows at high frequencies and long windows at low frequencies. This property enables the CWT to “zoom in” on discontinuous and makes it very attractive for the analysis of transient signals. The following figures are illustration of both method.

  - Wavelet applications areas

WT has been applied in signal processing and many have a considerable impact on power engineering, analysis for power quality problems resolution, power system transient classification, power quality disturbance data compression and incipient failure detection. The choice of the mother wavelet and wavelet parameters is crucial in these applications.

- Problem Formulation

  - Problem Statements

Consider a single-phase lossless transmission line of length l   connected between bus A and bus B, with a characteristic impedance Zc and traveling wave velocity of v. if a fault occurs at a distance x from bus A, this will appear as an abrupt injection at the fault point. This injection will travel like a wave "surge" along the line in both directions and will continue to bounce back and forth between fault point, and the two terminal buses until the post-fault steady state is reached.

Using the knowledge of the velocity of traveling waves along the given line, the distance to the fault point can be deduced easily.

  - Proposed Method Analysis

The double-ended line recording of fault signals method is used at both ends. The recorded waveforms will be transformed into modal signals. The modal signals will be analyzed using their wavelet transforms. The fault type here is three-phase fault.

Let t1 and t2 corresponds to the times at which the modal signals wavelet coefficients in scale 1, show their initial peaks for signals recorder at bus A and bus B. the delay between the fault detection times at the two ends is t1-t2, can be determined. When td is determined we could obtain the fault location from bus A According to:

or from B

l1 =

the v is assumed to be 1.8182x105 miles/sec

sampling time is 10 us

the total line length is 200 miles.

  - A Programming Simulation Using Matlab Language

The modal signals are decomposed using daubechies 4 which is represent by command db4 in Matlab. Number 4 represents the number of wavelets coefficients. Only the first two numbers "scales" 1 and 2 are used in the proposed fault location method.

The following Matlab program manipulate the fault signal using wavelet transform to get the first two levels "coefficient of the first two peaks of faulted wave signal" of the three phase faults"

% generate faulted signal

signal=[0 0 0 0 0 0 0  0 0 0 0 0 0  0 0 0 0 0 0  0 0.08 0 .01 0 0 0  0 0 0 0 0 0];

s=signal.*signal;

[ca1,cd1]=dwt(s,'db4');

subplot(3,1,1);plot(s),title('faulted signal WCT^2');

plot(signal),title('fault signal')

% perform decomposition at level 2 of signal using db4

[c,l]=wavedec(s,2,'db4');

% reconstructs detail coeffs at levels 1,2, from the wavelet decopmposition structure [c,l]

d2=wrcoef('d',c,l,'db4',2);

d1=wrcoef('d',c,l,'db4',1);

subplot(3,1,2);plot(d2),title('Bus A, Scale 1');

subplot(3,1,3);plot(d1),title('Bus B, Scale 1');

  - Results and discussions

a three phase fault is simulated at 20 km miles away from bus A. The fault waveform is shown in next figure:

In this example, the first WTC peak occurs at bus A is t1 = 21.15ms, and  at bus B t2=21 ms

(

t = t1 – t2 = 21.5 – 21 = 0,5 ms

Therefore the fault location is: 22.99 miles from Bus A.

Conclusions

This paper presents a new wavelet transform based fault location. Using the traveling wave theory of transmission lines, the transient signals are first decoupled into their modal components. Modal signals are then transformed from the time domain into the time frequency domain by applying the wavelet transform. The wavelet transform coefficients at the two lowest scales then are used to determine the fault location for fault type and line configuration. The three phase fault type and lossless line configuration are proposed.

References

- D. Xinzhou, C. Zheng and He Xuanzhou, "Optimizing Solution of fault location", 2002 EEE Power Engineering Society Summer Meeting, v. 3, July 2002, pp. 1113-1117.

- F. H Mgnago and A. Abur, "A New Fault Location Technique for Radial Distribution Systems Based on High Frequency Signals", 2002 EEE Power Engineering Society Summer Meeting, v. 1, July 1999, pp. 426 - 431.

- F. H Mgnago And A. Abur, "Fault Location Using Wavelets", IEEE Transactions on Power Delivery, Vol. 13, No. 4, October 1998, Pp. 1457-1480.

- Youssef, O., "Fault Classification Based on wavelets transforms." 2001 IEEE/PES transmission and distribution conference and exposition, v. 1, 28 Oct.-2 Nov. 2001, pp. 531 - 536.

- Graps, A., "An Introduction to Wavelets", IEEE Computational Science and Engineering, Vol. 2, No. 2, SUMMER 1995, Pp. 50-61.

- Carminati, E, Cristaldi, L. and etc.. "Partial Discharge Mechanism Detection by Neuro-Fuzzy Algorithms." 1998 instrumentation and measurements technology conference. v. 2, May 1998, pp. 744 - 748.

- Feng Yan, Zhiye Chen, etc.., "Fault Location Using Wavelet Packets.", Power System Technology, Vol. 4, Oct. 2002, Pp. 2575-2579.

- Girgis, A. Hart, D. et Peterson, W. "a new fault location technique for two- and three-terminal lines." IEEE transaction on power delivery, Vol. 7, Jan. 1992 , Pp. 98-107.