## Slide 1: تحليل (أي تصنيف) المواد بقياس طيف الامتصاص الحراري مستفيدا من تحويلات فوريير
Materials Characterization through Fourier Transform Infra-red Spectroscopy
Nicolet 6700 FTIR

## Slide 2
تذبذت الجزيئات كبصمة تحليل
Vibration of Molecules
http://www2.ess.ucla.edu/~schauble/molecular_vibrations.htm
N, 3N, 3N-6 (or 3N-5), N-1, 2N-5 (or 2N-4)
Water: http://www2.ess.ucla.edu/~schauble/MoleculeHTML/H2O_html/H2O_page.html
http://www.chemtube3d.com/vibrationsH2O.htm
CO2:
http://www2.ess.ucla.edu/~schauble/MoleculeHTML/CO2_html/CO2_page.html
CH4:
http://www2.ess.ucla.edu/~schauble/MoleculeHTML/CH4_html/CH4_page.html
http://teaching.shu.ac.uk/hwb/chemistry/tutorials/molspec/irspec1.htm

## Slide 3
امتصاص الجزيئات للموجات الحرارية
Vibrational excitation: DE = h n = ~ 0.1 eV ~ 10 mm ~ 800 cm-1
Dipole approximation [there are selection rules: Dl = +1
Since transition probability is proportional to <n|r|i>, n> and i> should have opposite polarities.
Electronic excitation: DE = h n = ~3 eV
Rotational excitation ~ meV
Conserve energy: +hn = En-Ei

## Slide 4
قياس طيف الإمتصاص للأشعة الحرارية تقليديا

## Slide 5
عمل المحزز.. ومشاكله!
http://www.horiba.com/scientific/products/optics-tutorial/diffraction-gratings/
Grating equation is given by:
Dv is constant from the geometry of the spectrometer
You can solve a (and b) for a specific l
Notes: α - (alpha) angle of incidence degrees β - (beta) angle of diffraction degrees k - diffraction order integer n - groove density grooves/mm DV - the included angle or deviation angle degrees µ0 - refractive index dimensionless λ - wavelength in vacuum nanometres

## Slide 6
عرفنا العمل. فأين المشاكل؟!
http://www.horiba.com/scientific/products/optics-tutorial/diffraction-gratings/
Notes: α - (alpha) angle of incidence degrees β - (beta) angle of diffraction degrees k - diffraction order integer n - groove density grooves/mm DV - the included angle or deviation angle degrees µ0 - refractive index dimensionless λ - wavelength in vacuum nanometres

## Slide 7
سؤال للجماهير الحائرة:
وش دخـّل كل هالسواليف بسلسلة المحاضرات في التطبيقات الرياضيـّة؟؟

## Slide 8
Fourier Series and Transforms

## Slide 9
ListPlot-Table of sum of three sinusoids. Then FFT the data, and compare with reconstructed function.
y(x) = 5 sin(2px/250) + 1 sin(2px/100) + 3 sin(2px/50)
نتحدث أكثر عن تحويل فوريير في يوم آخر، بإذن الله

## Slide 10
سؤال (للجماهير المحبة للفيزياء):
لماذا نحتاج تحويل فوريير لقياس طيف الإمتصاص؟

## Slide 11
The source sees the Fourier Transform “interferogram” of the source’s spectral intensity!
[See for example Klein’s Optics]
تخيـّل لو كان المصدر الضوئي أحادي اللون (ليزر)، فما الإشارة الملتقطة عند تحرك المرآة بسرعة ثابتة؟
تخيـّل لو كان المصدر الضوئي ثنائي اللون (ليزرين)، فما الإشارة الملتقطة عند تحرك المرآة بسرعة ثابتة؟
طيب.. لو كان المصدر عديد اللون (متصل طيف الإضاءة)

## Slide 12
Fundamentals of Molecular Spectroscopy

## Slide 13
FTIR Instrumentation

## Slide 14
FTIR Signal: measured.. calculated
Interferogram and its Fourier Transform
The spectra on the right are ratio when there is/ is not a sample. The ‘dips’ are dips in transmission due to absorption by the sample.

## Slide 15
ميزات قياس الطيف باتستخدام تحويل فورير
التقاط الإشارة للطيف كاملا
زمن التحليل قصير
لا حاجة إلى اقتطاع الإشارة عند فتحة المحزز (أصلا ليس ثمة محزز)
دقة قياس الزمن الدورة (أو التردد) عالي جدا لاستخدام الليزر
القدرة على تمييز الخطوط عالي و لا يعتمد على الطول الموجي