Energy Resolution Measurement of NaI Detector

Purpose

To measure the energy of unknown gamma rays using 60Co source and study 1/E behavior of energy resolution ( FWHM/E) of a NaI detector for the  gamma rays of energy E.

Procedure

1. Place the 60Co source at a distance of ~2 cm in front of the NaI(Tl) detector.

2. Adjust the coarse and fine gain controls of the amplifier so that the 1.33 and 1.17 MeV photopeaks  for 60Co falls at approximately channel 650.

3. Accumulate the 60Co spectrum for a time period long enough to determine the peak position. Fig. 3.2 shows a typical 60Co spectrum that has been plotted. Although these spectra are usually plotted on semi log graph paper, the figures shown in this experiment are plotted on linear paper to point out some of the features of the spectra.

4. Read out the MCA.

5. Enter  the 60Co peaks  positions and corresponding energy resolutions (FWHM)  in channels in the data Table 1.

6 . Remove 60Co source and place Ba source in front of the NaI detector.

7. Accumulate the Ba  source spectrum for a time period long enough to determine the peak position.

8. Enter  the Ba peaks  position and corresponding energy resolutions (FWHM)  in channels in the data Table 1.

9. From items 1, 2 and 3 in Table 1, make a plot of energy of the Peak Energy vs. channel number. Fig. 3.4 shows this calibration for the data taken from Fig. 3.3.

10. Make   a linear regression fit to the peak energy and peak channels data and write down the linear regression equation.

11.  Obtain an Radon gamma source from the instructor. Accumulate a spectrum for the unknown source for a period of time long enough to clearly identify its photopeak(s).

12. Enter its peaks channel number and corresponding energy resolution (FWHM)  in the data Table 1.

13 Using the calibration curve of 60Co source, determine the energy corresponding to peak channel of unknown source. Enter this energy in the data Table 1.

14. Calculate percent energy resolution E/E(%) =100*[FHWM (keV) /E(keV)] for each gamma ray energy and enter the data in the data Table 1.

Table: 1

| Item | Event | Peak Energy (MeV) | Peak Centroid Channel | FHWM (Channel ) | E/E(%) =100*[FHWM(keV) / E(keV)] |
| --- | --- | --- | --- | --- | --- |
| 1 | 60Co Photo peak | 1.17 |  |  |  |
| 2 | 60Co Photo peak | 1.33 |  |  |  |
| 3 | Barium | 0.356 |  |  |  |
| 4 | Radon (214Bi) | ? |  |  |  |
| 5 | Radon (214Bi) | ? |  |  |  |
| 6 | Radon (214Bi) | ? |  |  |  |
| 7 | Radon (214Bi) | ? |  |  |  |

15. Plot a graph of E/E(%)] as a function of  E(keV)] for the all gamma rays energies on a linear graph paper. Fit a a power law to the data of type

E/E(%)= aEb

16. Find the value of  coefficient b and a of the fit . The expected value of b =  0.5 . Determine the percentage error in value of coefficient b.

Figure 3.5

17. Plot a graph of ln[E/E(%)] as a function of ln[E(keV)] for the gamma rays energies on a linear graph paper as shown Fig. 3.6.

18. Calculate the slope of the line and verify the relation (E/E(%)= 1/E(keV) by calculating the experimental uncertainty in the expected slope (0.5) of  ln[E/E(%)] vs ln[E(keV)] plot.

Figure 3.6