| A-3. Gamma-ray energies and emission probabilities for actinides and natural decay products |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Nuclide | Half-life 1 y = 1 year = 365.24219878 days | Energy [keV] | Emission probability [% decay] | Source | Notes |
| 81-Tl-208. | 3.060 ± 0.008 m. | 277.37 ± 0.03. 583.187 ± 0.002. 860.56 ± 0.03. 2614.511 ± 0.010. | 6.6 ± 0.3. 85.0 ± 0.3. 12.5 ± 0.1. 99.79 ± 0.01. | BIPM-5. | [1]. |
| 82-Pb-210. | 22.20 ± 0.22 y. | 46.539 ± 0.001. | 4.25 ± 0.04. | ENSDF. |  |
| 82-Pb-211. | 36.1 ± 0.2 m. | 404.853 ± 0.010. 427.088 ± 0.010. 704.64 ± 0.03. 766.51 ± 0.03. 832.01 ± 0.03. | 3.78 ± 0.06. 1.76 ± 0.04. 0.46 ± 0.01. 0.62 ± 0.02. 3.52 ± 0.06. | ENSDF. |  |
| 82-Pb-212. | 10.64 ± 0.01 h. | 115.183 ± 0.005. 238.632 ± 0.002. 300.09 ± 0.01. | 0.623 ± 0.022. 43.6 ± 0.3. 3.18 ± 0.13. | BIPM-5. |  |
| 82-Pb-214. | 26.8 ± 0.9 m. | 53.2275 ± 0.0021. 241.997 ± 0.003. 295.224 ± 0.002. 351.932 ± 0.002. | 1.066 ± 0.014. 7.19 ± 0.06. 18.28 ± 0.14. 35.34 ± 0.27. | IAEA-CRP-XG. |  |
| 83-Bi-211. | 2.14 ± 0.02 m. | 351.06 ± 0.04. | 12.91 ± 0.11. | ENSDF. |  |
| 83-Bi-212. | 60.54 ± 0.06 m. | 727.33 ± 0.01. 785.37 ± 0.09. 1078.63 ± 0.11. 1620.74 ± 0.01. | 6.74 ± 0.12. 1.11 ± 0.01. 0.55 ± 0.02. 1.51 ± 0.03. | BIPM-5. |  |
| 83-Bi-214. | 19.9 ± 0.4 m. | 609.316 ± 0.003. 665.453 ± 0.022. 768.367 ± 0.011. 806.185 ± 0.011. 934.061 ± 0.012. 1120.287 ± 0.010. 1155.19 ± 0.02. 1238.110 ± 0.012. 1280.96 ± 0.02. 1377.669 ± 0.012. 1401.516 ± 0.014. 1407.993 ± 0.007. 1509.217 ± 0.008. 1661.316 ± 0.013. 1729.640 ± 0.012. 1764.539 ± 0.015. 1847.420 ± 0.025. 2118.536 ± 0.008. 2204.071 ± 0.021. 2447.673 ± 0.010. | 45.16 ± 0.33. 1.521 ± 0.011. 4.850 ± 0.038. 1.255 ± 0.011. 3.074 ± 0.025. 14.78 ± 0.11. 1.624 ± 0.014. 5.785 ± 0.045. 1.425 ± 0.012. 3.954 ± 0.033. 1.324 ± 0.011. 2.369 ± 0.019. 2.108 ± 0.021. 1.037 ± 0.010. 2.817 ± 0.023. 15.17 ± 0.12. 2.000 ± 0.018. 1.148 ± 0.011. 4.89 ± 0.10. 1.536 ± 0.015. | IAEA-CRP-XG. |  |
| 86-Rn-219. | 3.96 ± 0.01 s. | 271.23 ± 0.01. 401.81 ± 0.01. | 10.8 ± 0.6. 6.6 ± 0.4. | ENSDF. |  |
| 86-Rn-220. | 55.8 ± 0.3 s. | 549.76 ± 0.04. | 0.115 ± 0.015. | BIPM-5. |  |
| 88-Ra-223. | 11.43 ± 0.05 d. | 122.319 ± 0.010. 144.235 ± 0.010. 154.208 ± 0.010. 269.463 ± 0.010. 323.871 ± 0.010. 338.282 ± 0.010. 445.033 ± 0.012. | 1.21 ± 0.02. 3.27 ± 0.08. 5.70 ± 0.16. 13.9 ± 0.3. 3.99 ± 0.09. 2.84 ± 0.07. 1.29 ± 0.05. | ENSDF. |  |
| 88-Ra-224. | 3.627 ± 0.007 d. | 240.986 ± 0.006. | 4.12 ± 0.04. | BIPM-5. |  |
| 88-Ra-226. | ( 1.600 ± 0.007 ) x 103 y. | 186.211 ± 0.013. | 3.533 ± 0.028. | IAEA-CRP-XG. |  |
| 90-Th-227. | 18.718 ± 0.005 d. | 50.13 ± 0.01. 79.69 ± 0.02. 93.88 ± 0.05. 210.62 ± 0.05. 235.96 ± 0.02. 256.23 ± 0.02. 286.09 ± 0.02. 289.59 ± 0.10. 299.98 ± 0.03. 304.50 ± 0.02. 329.85 ± 0.02. 334.37 ± 0.02. | 8.2 ± 0.5*. 1.90 ± 0.11. 1.48 ± 0.08. 1.22 ± 0.11. 12.6 ± 0.6. 6.8 ± 0.4. 1.70 ± 0.17*. 1.9 ± 0.4*. 2.16 ± 0.12*. 1.12 ± 0.14. 2.9 ± 0.2. 1.11 ± 0.09. | LNHB. | [2]. |
| 90-Th-228. | 698.60 ± 0.23 d. | 84.373 ± 0.003. 131.612 ± 0.004. 166.410 ± 0.004. 215.985 ± 0.004. | 1.17 ± 0.05. 0.124 ± 0.006. 0.094 ± 0.007. 0.226 ± 0.020. | BIPM-5. |  |
| 90-Th-229. | ( 7.34 ± 0.16 ) x 103 y. | 107.108 ± 0.008. 136.99 ± 0.04. 148.15 ± 0.04. 156.409 ± 0.009. 193.509 ± 0.004. 210.853 ± 0.003. | 0.81 ± 0.05. 1.18 ± 0.04. 0.88 ± 0.07. 1.19 ± 0.04. 4.41 ± 0.07. 2.8 ± 0.4. | ENSDF. |  |
| 90-Th-230. | ( 7.538 ± 0.030 ) x 104 y. | 67.672 ± 0.002. 143.872 ± 0.004. 253.729 ± 0.010. | 0.38 ± 0.04. 0.049 ± 0.004. 0.0111 ± 0.0009. | ENSDF. |  |
| 90-Th-231. | 25.52 ± 0.01 h. | 58.5700 ± 0.0024. 81.2280 ± 0.0014. 82.0870 ± 0.0014. 84.2140 ± 0.0013. 89.95 ± 0.02. 102.2700 ± 0.0013. | 0.46 ± 0.03. 0.90 ± 0.06. 0.42 ± 0.03. 6.6 ± 0.4. 1.00 ± 0.06. 0.44 ± 0.03. | ENSDF. |  |
| 90-Th-232. | ( 1.405 ± 0.006 ) x 1010 y. | 63.81 ± 0.01. 140.88 ± 0.01. | 0.263 ± 0.013. 0.021 ± 0.004. | ENSDF. |  |
| 90-Th-233. | 22.15 ± 0.15 m. | 29.373 ± 0.010. 86.477 ± 0.010. 94.65 ± 0.05. 169.159 ± 0.010. 459.222 ± 0.007. 669.902 ± 0.016. | 2.5 ± 0.4. 2.7 ± 0.4. 0.8 ± 0.1. 0.34 ± 0.05. 1.4 ± 0.3. 0.68 ± 0.14. | LNHB. | [3]. |
| 90-Th-234. | 24.10 ± 0.03 d. | 63.29 ± 0.02. 92.38 ± 0.01. 92.80 ± 0.02. 112.81 ± 0.05. | 3.70 ± 0.06. 2.62 ± 0.06. 2.59 ± 0.06. 0.244 ± 0.015. | ADS-98. | [4]. |
| 91-Pa-231. | ( 3.276 ± 0.011 ) x 104 y. | 260.19 ± 0.06. 283.69 ± 0.01. 300.07 ± 0.01. 302.65 ± 0.05. 330.06 ± 0.01. 340.74 ± 0.05. 357.12 ± 0.09. | 0.188 ± 0.012. 1.7 ± 0.1. 2.5 ± 0.2. 2.2 ± 0.4. 1.40 ± 0.09. 0.181 ± 0.011. 0.175 ± 0.013. | ENSDF. |  |
| 91-Pa-233. | 26.98 ± 0.02 d. | 75.269 ± 0.010. 86.595 ± 0.010. 103.86 ± 0.01. 271.555 ± 0.010. 300.129 ± 0.005. 311.904 ± 0.005. 340.476 ± 0.005. 375.404 ± 0.005. 398.492 ± 0.005. 415.764 ± 0.005. | 1.30 ± 0.03. 1.99 ± 0.11. 0.853 ± 0.006. 0.323 ± 0.003. 6.60 ± 0.21. 38.25 ± 0.23. 4.47 ± 0.03. 0.684 ± 0.007. 1.408 ± 0.014. 1.747 ± 0.007. | LNHB. |  |
| 91-Pa-234m. | 1.159 ± 0.016 m. | 258.24 ± 0.07. 742.814 ± 0.022. 766.358 ± 0.020. 786.272 ± 0.022. 1001.025 ± 0.022. | 0.0726 ± 0.0009. 0.096 ± 0.003. 0.318 ± 0.005. 0.054 ± 0.001. 0.832 ± 0.010. | IAEA-CRP-XG. |  |
| 92-U-232. | 68.9 ± 0.4 y. | 57.78 ± 0.05. 129.08 ± 0.05. 270.2 ± 0.2. 327.9 ± 0.2. | 0.200 ± 0.002. 0.0682 ± 0.0004. 0.00316 ± 0.00005. 0.00283 ± 0.00006. | ENSDF. | [3]. |
| 92-U-233. | ( 1.592 ± 0.002 ) x 105 y. | 54.699 ± 0.001. 118.968 ± 0.002. 120.816 ± 0.001. 135.36 ± 0.03. 146.345 ± 0.002. 164.522 ± 0.002. 208.171 ± 0.002. 245.345 ± 0.002. 291.354 ± 0.004. 317.16 ± 0.01. 320.541 ± 0.005. | 0.0182 ± 0.0003. 0.00406 ± 0.00004. 0.00332 ± 0.00003. 0.00232 ± 0.00002. 0.00657 ± 0.00006. 0.00623 ± 0.00005. 0.00229 ± 0.00003. 0.00362 ± 0.00003. 0.00537 ± 0.00005. 0.00776 ± 0.00007. 0.00290 ± 0.00003. | ENSDF. | [3]. |
| 92-U-234. | ( 2.455 ± 0.006 ) x 105 y. | 53.20 ± 0.02. 120.90 ± 0.04. | 0.1253 ± 0.0040. 0.0386 ± 0.0032. | LNHB. | [3]. |
| 92-U-235. | ( 7.038 ± 0.005 ) x 108 y. | 109.16 ± 0.02. 140.76 ± 0.04. 143.76 ± 0.02. 163.33 ± 0.02. 182.61 ± 0.05. 185.715 ± 0.005. 194.94 ± 0.01. 202.11 ± 0.02. 205.311 ± 0.010. 221.38 ± 0.02. | 1.54 ± 0.06. 0.22 ± 0.03. 10.96 ± 0.14. 5.08 ± 0.07. 0.34 ± 0.03. 57.2 ± 0.8. 0.63 ± 0.02. 1.08 ± 0.03. 5.01 ± 0.06. 0.12 ± 0.02. | ENSDF. |  |
| 92-U-236. | ( 2.342 ± 0.004 ) x 107 y. | 49.369 ± 0.009. 112.750 ± 0.015. | 0.078 ± 0.012. 0.019 ± 0.003. | ENSDF. |  |
| 92-U-237. | 6.749 ± 0.016 d. | 59.5409 ± 0.0001. 64.83 ± 0.02. 164.61 ± 0.02. 208.00 ± 0.01. 332.36 ± 0.04. | 34.1 ± 0.8. 1.286 ± 0.017. 1.86 ± 0.03. 21.3 ± 0.3. 1.199 ± 0.016. | LNHB. |  |
| 92-U-238. | ( 4.468 ± 0.005 ) x 109 y. | 49.55 ± 0.06. 113.5 ± 0.1. | 0.0697 ± 0.0026. 0.0174 ± 0.0047. | LNHB. |  |
| 92-U-239. | 23.45 ± 0.02 m. | 43.533 ± 0.001. 74.664 ± 0.001. 662.24 ± 0.03. 819.22 ± 0.04. 844.10 ± 0.04. | 4.07 ± 0.13. 49.2 ± 1.2. 0.182 ± 0.005. 0.148 ± 0.004. 0.162 ± 0.004. | ENSDF. |  |
| 93-Np-236m. | 22.5 ± 0.4 h. | 538.11 ± 0.10. 642.35 ± 0.09. 687.60 ± 0.05. | 0.0125 ± 0.0015. 1.08 ± 0.06. 0.292 ± 0.021. | LNHB. |  |
| 93-Np-237. | ( 2.144 ± 0.007 ) x 106 y. | 57.104 ± 0.020. 86.477 ± 0.010. 87.99 ± 0.03. 117.702 ± 0.020. 143.249 ± 0.020. 151.414 ± 0.020. 194.95 ± 0.03. 212.29 ± 0.05. | 0.354 ± 0.008. 12.4 ± 0.3. 0.167 ± 0.004. 0.169 ± 0.004. 0.443 ± 0.008. 0.23 ± 0.02. 0.177 ± 0.005. 0.151 ± 0.003. | ENSDF. |  |
| 93-Np-238. | 2.117 ± 0.002 d. | 101.90 ± 0.03. 882.63 ± 0.03. 918.69 ± 0.04. 923.98 ± 0.02. 936.61 ± 0.06. 941.38 ± 0.05. 962.77 ± 0.03. 984.45 ± 0.02. 1025.87 ± 0.02. 1028.54 ± 0.02. | 0.251 ± 0.007. 0.811 ± 0.011. 0.532 ± 0.007. 2.62 ± 0.04. 0.368 ± 0.006. 0.514 ± 0.007. 0.645 ± 0.008. 25.19 ± 0.21. 8.72 ± 0.15. 18.3 ± 0.3. | ENSDF. |  |
| 93-Np-239. | 2.356 ± 0.003 d. | 61.460 ± 0.002. 106.123 ± 0.002. 209.753 ± 0.002. 226.38 ± 0.02. 228.183 ± 0.001. 277.599 ± 0.001. 315.880 ± 0.003. 334.310 ± 0.002. | 1.30 ± 0.02. 26.3 ± 1.0. 3.42 ± 0.03. 0.259 ± 0.016. 11.14 ± 0.11. 14.44 ± 0.10. 1.60 ± 0.02. 2.06 ± 0.02. | ENSDF. |  |
| 94-Pu-236. | 2.858 ± 0.008 y. | 47.57 ± 0.01. 109.00 ± 0.01. 165.0 ± 0.5. 645. ± 2.. | 0.066 ± 0.020. 0.012 ± 0.004. 0.00066 ± 0.00020. 0.00024 ± 0.00008. | ENSDF. | [6]. |
| 94-Pu-238. | 87.74 ± 0.03 y. | 43.498 ± 0.001. 99.852 ± 0.003. 152.719 ± 0.002. | 0.0397 ± 0.0008. 0.00735 ± 0.00008. 0.000930 ± 0.000007. | BIPM-5. | [7]. |
| 94-Pu-239. | ( 2.411 ± 0.003 ) x 104 y. | 51.624 ± 0.001. 56.828 ± 0.003. 129.296 ± 0.001. 144.201 ± 0.003. 146.094 ± 0.006. 161.450 ± 0.015. 171.393 ± 0.006. 195.679 ± 0.008. 203.550 ± 0.005. 332.845 ± 0.005. 345.013 ± 0.004. 375.054 ± 0.003. 380.191 ± 0.006. 382.75 ± 0.05. 392.53 ± 0.03. 413.713 ± 0.005. 422.598 ± 0.019. 451.481 ± 0.010. 645.94 ± 0.04. 652.05 ± 0.02. 658.86 ± 0.06. | 0.02722 ± 0.00003. 0.001152 ± 0.000013. 0.00631 ± 0.00004. 0.000283 ± 0.000006. 0.000119 ± 0.000003. 0.000123 ± 0.000002. 0.000110 ± 0.000002. 0.000107 ± 0.000001. 0.000569 ± 0.000003. 0.000494 ± 0.000003. 0.000556 ± 0.000005. 0.001554 ± 0.000009. 0.000305 ± 0.000006. 0.000259 ± 0.000005. 0.000205 ± 0.000020. 0.001466 ± 0.000011. 0.000122 ± 0.000002. 0.0001894 ± 0.0000016. 0.0000152 ± 0.0000003. 0.0000066 ± 0.0000002. 0.0000097 ± 0.0000002. | ENSDF. | [7]. |
| 94-Pu-240. | ( 6.561 ± 0.007 ) x 103 y. | 45.242 ± 0.003. 104.234 ± 0.006. 160.307 ± 0.003. | 0.0450 ± 0.0009. 0.00714 ± 0.00007. 0.0004045 ± 0.0000022. | BIPM-5. | [7]. |
| 94-Pu-241. | 14.290 ± 0.006 y. | 77.10 ± 0.10. 103.680 ± 0.005. 148.567 ± 0.010. | 0.0000211 ± 0.0000008. 0.000102 ± 0.000002. 0.000185 ± 0.000003. | ENSDF. | [7]. |
| 94-Pu-242. | ( 3.73 ± 0.03 ) x 105 y. | 44.915 ± 0.013. 103.50 ± 0.04. 158.80 ± 0.08. | 0.0376 ± 0.0008. 0.00251 ± 0.00011. 0.000298 ± 0.000020. | BIPM-5. | [7]. |
| 95-Am-241. | 432.6 ± 0.6 y. | 26.3446 ± 0.0002. 33.1963 ± 0.0003. 59.5409 ± 0.0001. 98.95 ± 0.01. 102.97 ± 0.01. 123.02 ± 0.02. 125.29 ± 0.01. 146.57 ± 0.01. 169.55 ± 0.02. 208.00 ± 0.02. 322.53 ± 0.03. 335.40 ± 0.03. 368.63 ± 0.03. 662.41 ± 0.02. | 2.40 ± 0.03. 0.121 ± 0.003. 35.78 ± 0.09. 0.0203 ± 0.0004. 0.0195 ± 0.0004. 0.00100 ± 0.00004. 0.0041 ± 0.0002. 0.00046 ± 0.00001. 0.00017 ± 0.00001. 0.000786 ± 0.000005. 0.000151 ± 0.000003. 0.000496 ± 0.000005. 0.000214 ± 0.000004. 0.000367 ± 0.000005. | BIPM-5. | [8]. |
| 95-Am-242m. | 141 ± 2 y. | 49.35 ± 0.02. 60.13 ± 0.06. 66.89 ± 0.02. 73.66 ± 0.02. 86.65 ± 0.02. 135.19 ± 0.02. 136.03 ± 0.02. | 0.13 ± 0.01. 0.005 ± 0.001. 0.015 ± 0.001. 0.008 ± 0.001. 0.023 ± 0.001. 0.007 ± 0.001. 0.009 ± 0.001. | ENSDF. | [9]. |
| 95-Am-243. | ( 7.370 ± 0.017 ) x 103 y. | 43.53 ± 0.02. 74.66 ± 0.02. 86.71 ± 0.02. 141.90 ± 0.06. | 5.89 ± 0.10. 67.2 ± 1.2. 0.346 ± 0.009. 0.115 ± 0.008. | LNHB. |  |
| 96-Cm-242. | 162.86 ± 0.08 d. | 44.08 ± 0.03. 101.92 ± 0.04. 157.42 ± 0.09. | 0.0330 ± 0.0007. 0.00251 ± 0.00014. 0.00145 ± 0.00016. | LNHB. | [7]. |
| 96-Cm-243. | 29.1 ± 0.1 y. | 209.753 ± 0.002. 228.183 ± 0.002. 277.599 ± 0.002. 285.460 ± 0.002. | 3.29 ± 0.1. 10.6 ± 0.3. 14.0 ± 0.4. 0.73 ± 0.02. | ENSDF. |  |
| 96-Cm-244. | 18.11 ± 0.03 y. | 42.824 ± 0.008. 98.860 ± 0.013. 152.63 ± 0.02. | 0.0258 ± 0.0007. 0.00136 ± 0.00009. 0.00102 ± 0.00005. | LNHB. | [7]. |
| 98-Cf-252. | 2.645 ± 0.008 y. | 43.399 ± 0.025. 100.2 ± 0.4. | 0.0148 ± 0.0009. 0.013 ± 0.006. | ENSDF. | [7]. |

| References |  |
| --- | --- |
| BIPM-5 | M.-M. Bé, V. Chisté, C. Dulieu, E. Browne, V. Chechev, N. Kuzmenko, R. Helmer, A. Nichols, E. Schönfeld, R. Dersch, Monographie BIPM-5, Table of Radionuclides, Vol. 2 - A = 151 to 242, 2004. |
| ENSDF | Evaluated Nuclear Structure Data File, http://www-nds.iaea.org/ensdf/, 15 November 2006. |
| IAEA-CRP-XG | M.-M. Bé, V. P. Chechev, R. Dersch, O. A. M. Helene, R. G. Helmer, M. Herman, S. Hlavác, A. Marcinkowski, G. L. Molnár, A. L. Nichols, E. Schönfeld, V. R. Vanin, M. J. Woods, IAEA CRP "Update of X Ray and Gamma Ray Decay Data Standards for Detector Calibration and Other Applications", IAEA Scientific and Technical Information report STI/PUB/1287, May 2007, International Atomic Energy Agency, Vienna, Austria, ISBN 92-0-113606-4. |
| LNHB | Laboratoire National Henri Becquerel, Recommended Data, http://www.nucleide.org/DDEP_WG/DDEPdata.htm, 3 October 2006. |
| ADS-98 | I. Adsley, J.S. Backhouse, A.L. Nichols, J. Toole, U-238 Decay Chain: Resolution of Observed Anomalies in the Measured Secular Equilibrium Between Th-234 and Daughter Pa-234m, Appl. Radiat. Isot. 49 (1998) 1337. |

Notes

[1] 510.7-keV emission probability of 22.6 ± 0.2% has been set aside as too close in energy to any annihilation radiation. [2] Possible minor interference from other gamma-ray emissions of comparable energy (*). [3] Doubly-placed transitions were not considered. Uncertainties of the emission probabilities are adopted from E. Browne, R. B. Firestone and V. S. Shirley, Table of Radioactive Isotopes, John Wiley & Sons, New York, 1986. [4] Measurement of the emission probability of the 63.29-keV γ-ray by Abousahl et al., Nucl. Instrum. Meth. Phys. Res. A517 (2004) 211, has been incorporated into an earlier evaluation (Adsley et al., Appl. Radiat. Isot. 49 (1998) 1337) to give a recommended value of (3.70 ± 0.06)%; all other emissions probabilities and uncertainties were adjusted accordingly. [5] Low intensity emissions. [6] Energy uncertainties are adopted from E. Browne, R. B. Firestone and V. S. Shirley, Table of Radioactive Isotopes, John Wiley & Sons, New York, 1986. [7] Low intensity emissions (no alternative). [8] Low intensity emissions included. [9] Low intensity emissions included; doubly-placed transitions were not considered.

Read our Disclaimer Copyright International Atomic Energy Agency - Nuclear Data Section P.O. Box 100, Wagramer Strasse 5, A-1400 Vienna, Austria.